# Text boxes

3.5 Years

Pay-back period (years)

USD 86,400

Year 3 [Annual Revenue (Less 20% Annual O & M Costs)]

USD  86,400

Year 2  [Annual Revenue (Less 20% Annual O & M Costs)]

USD 310,000

Year 1  (DM Funding + Loan from Cows to Kilowatts Partnership Limited)

Annual Revenue (Less Annual O & M) Costs (20%)

Cash Flow Analysis

USD 21,600

Proposed Annual Operation and Maintenenance Costs

USD  108,000

Estimated Annual Revenue from the  Off-grid Lighting Tariff

USD 9,000

Estimated Monthly Revenue from the  Off-grid Lighting Tariff

Cash Flow

Capital Budgetting

USD 310,000.00

Total Project Cost

USD 5,000

General Administration

USD 5,000

Monitoring and Evaluation

USD 10,000

Travel Cost

USD 5,000

Multi-stakeholders workshop

USD 25,000

Personnel Cost

USD 10,000

Cost of  Compact Fluorescent Lamps for 2,250 Users (4No. Per Household)

USD 110,000

Cost of the Microturbines and Off-grid Lighting Systems

3

3

USD 140,000

Cost of the  Solid Digester  and AFF Bioreactor

USD 4.0 Per Month

Proposed Tariff for  our Off-grid Lighting from Cassava Waste

USD  10.0  Per Month

Government Electricity Tariff in Nigeria for the Consumption

48KWH

Monthly Consumption by Urban Poor Households in KWH

1.6 KWH

Daily Consumption by Peri-urban Poor Households in KWH for 5 hours  of Lighting

3

150 KW

Equivalent Power Generation for Lighting)

2,250

Estimated Number of Household Served)

1,800

0.05 Hectares

Estimated Land Area Required

3

1,250 m   + 750  cubic metre

Size of the Solid Digester + AFF Biogas Reactor

+ 500 cubic metre/day

3

1,000 m

Solid Waste + Wastewater Volume

15,000 mg/l

Chemical Oxygen Demand (COD)

Design Parameters

Waste Characterisation and Preliminary Design of Bioreactors

Project Capital Budget and Cash Flow Analysis