Document 521

PRE-ASSESSMENT REPORT

CHAPTER:  Hampton Roads Professionals

COUNTRY:  Cambodia

COMMUNITY:  Talle Batti Communities

PROJECT:  Water supply in Talle Batti

TRAVEL DATES: 11/7/2009-11/14/2009

PREPARED BY

*first names and contact information have been removed to protect privacy*

Submitted 8/31/2009

ENGINEERS WITHOUT BORDERS-USA

www.ewb-usa.org

Pre-Assessment Report Part 1 – Administrative Information

- Contact Information

|  | Name | Email | Phone | Chapter |
| --- | --- | --- | --- | --- |
| Project Leads | Mr. White |  |  | EWB-HR |
| President | Ms. Wagner |  |  | EWB-HR |
| Mentor #1 | N/A |  |  | EWB-HR |
| Mentor #2 | N/A |  |  | EWB-HR |
| Faculty Advisor (if applicable) | N/A |  |  | EWB-HR |
| Health Point Person #1 | Mr. Alperin |  |  | EWB-HR |
| Health Point Person #2 |  |  |  | EWB-HR |
| NGO/Community Contact | Ms. Seaux |  |  | N/A |
| Education Lead |  |  |  | EWB-HR |

- Travel History

| Dates of Travel | Assessment or Implementation | Description of Trip |
| --- | --- | --- |
| 11/7/2009-11/14/2009 | Assessment | First assessment trip to establish a bond with the community and NGO while collecting project data and relevant assessments. |

- Travel Team

| Name | E-mail | Phone | Chapter | Student or Professional |
| --- | --- | --- | --- | --- |
| Mr. White |  |  | Hampton Roads Professionals | Professional |
| Mr. Alperin |  |  | Hampton Roads Professionals | Professional |
| Mr. Rohan |  |  | Hampton Roads Professionals | Professional |
| Mr. Walsh |  |  | Hampton Roads Professionals | Professional |

- Safety

  - State Department Warning

As of 7/17/09, there are no current State Department travel warnings for Cambodia. The State Department Website, http://travel.state.gov, will be monitored on a regular basis. However, a general safety assessment and suggestions are included.

The State Department does have a concern that extremist groups present in Southeast Asia have transnational capabilities to carry out attacks against locations where Westerners congregate. It is recommended that American citizens traveling to Cambodia should therefore exercise caution in places frequented by foreigners. They should remain vigilant with regard to their personal security and avoid crowds and demonstrations. The current political situation is relatively stable; however, Cambodian political activities have turned violent in the past, and the possibility for politically motivated violence remains.  Also, the U.S. Embassy recommends that American citizens defer travel along the Cambodian-Thai border in the area of the Preah Vihear temple because of a border dispute between the two countries.

Land mines and unexploded ordnance are found in rural areas throughout Cambodia, and especially in Battambang, Banteay Meanchey, Pursat, Siem Reap, and Kampong Thom provinces. It is recommended that travelers never walk in forested areas or even in dry rice paddies without a local guide. Areas around small bridges on secondary roads may be particularly dangerous.

Medical Facilities and Health information:

Dysentery, malaria, yaws, tuberculosis, trachoma, various skin diseases, and parasitic diseases are common in Cambodia due to inadequate nutrition, poor sanitary conditions, poor hygiene practices, and a general lack of adequate medical treatment

Based on the declaration of a Public Health Emergency by HHS, The State Department recommends that those traveling or living in Cambodia be aware of the latest information on influenza H1N1 virus, malaria, dengue fever and avian flu. Further updates will be monitored through the following web sites:

- The State Department website

- The United States Centers for Disease Control website at http://www.cdc.gov

- The World Health Organization website at http://www.who.int/csr/disease

Medical facilities and services in Cambodia do not meet international standards.  The closest city to Talle Batti, Phnom Penh, has a limited number of internationally-run clinics and hospitals that can provide basic medical care and stabilization. Medical care around Talle Batti is almost non-existent. Local pharmacies provide a limited supply of prescription and over-the-counter medications, but because the quality of locally obtained medications can vary greatly, it is recommended that adequate supplies of necessary medications be brought in for the duration of the assessment trip.  A  first aid kit containing basic emergency materials and standard medication will be brought with the assessment team.  The first aid kit can then be donated to the host villages on departure

Sanitation practices in rural Cambodia are often primitive. The water supply is the main problem; rivers and streams are common sources of drinking water and of water for cooking. These water sources are often the same ones used for bathing, washing clothes, and disposing of waste products. Adequate sewage disposal is nonexistent in most rural and suburban areas.  Care will be taken during the trip to filter and treat water prior to use.

Cambodian Beliefs and Customs About Health Care

It is important for the EWB project team to have a general understanding of the customs and beliefs of the host countries.  The intent is to not impose beliefs but work within the local beliefs, laws and customs to improve the integration and acceptance of any new systems provided by EWB.

According to traditional Cambodian beliefs, disease may be caused by some underlying spiritual cause. Evil spirits or "bad air" are believed to cause many diseases and can be expelled from the body of a sick person by trained practitioners, who may be traditional healers--bonzes, former bonzes, herbalists, folk healers--or Western-trained doctors and nurses. Aside from a wide variety of herbal remedies, traditional healing practices include scraping the skin with a coin, ring, or other small object; sprinkling or spraying water on the sick person; and prayer. The use of cupping glasses continues to be used. The Government was slow to address HIV AIDS and promote birth control.

In the recent past modern medical practices and pharmaceuticals have been scarce in Cambodia and the population resorted to traditional remedies.  During the rule of the Red Khmer, ancestral healing methods were promoted over Western Medicine.  There was a flourishing black market in medicines, especially antibiotics, at exorbitant prices

The government in Phnom Penh was slow in disseminated information the cause and spread of  AIDS / HIV

  - Point to point travel detail

Travel is usually by Taxi, bus, tuk-tuk (moto-taxi) or Motorcycle.  Roads are poor and rarely paved outside of the larger cities.  Longer trips are usually by Taxi or Bus. There may be option for boats or small planes that are relatively inexpensive. It has been suggested that the safest mode of transportation is by Taxi.

In a medical emergency any situation beyond basic first aid will require immediate transport to Phnom Penh.  Phnom Penh is about 2.5 hours North. The fastest route there is via Takhmau on Route 2.  This is a partially paved and gravel road.

  - Safety Plan

- Team will register with the U.S. Embassy (http://cambodia.usembassy.gov.) before the trip so the embassy is also aware of the group’s activities and can aid in an emergency.  Registration should be made on-line at: https://travelregistration.state.gov.  The Embassy in Cambodia is located at #1 Street 96 in Phnom Penh.  The American Citizen Services Unit of the U.S. Embassy in Phnom Penh can be reached by calling 855-23-728-000 and by email at ACSphnompenh@state.gov.

- The buddy system will be implemented. A minimum of two team members will be together at all times.

- All travelers will carry their passport along with a safety information card with all important phone numbers and specific medical concerns.

- Because of the small size of the group, it will be feasible for each person make 4 copies of their passport and give one copy to the other 3 people in the group

- Team will communicate with the NGO to make their presence in the villages known

- Team will restrict traveling to daylight hours

- Areas known for crimes against tourists will be avoided if possible

  - Emergency Plan and Exit Strategy

- A meeting location will be determined at the onset of the trip to be used in case of unintended separation or emergencies.  This location shall be in Phnom Penh to facilitate evacuation. Group will work with local NGO to collect information and recommendations for best possible strategy.  Transportation will likely be handled by the personal vehicle of the NGO.

- In an emergency the U.S. embassy will be contacted and their instructions will be followed.

- If medical care is needed, one of the pre-approved hospitals or medical facilities located in Phnom Phen will be used. (These are reachable by bus or the NGO’s SUV.)

- For evacuation, we will either use the NGO’s vehicle (if feasible) or a regular bus as  available. Logistics and schedule will be verified upon arrival.

- All team members shall have travelers medical insurance including medical evacuation coverage; insurance co. will be contacted immediately if emergency occurs.

- We will always stay in groups of two using the buddy system.

- Always notify the others in the group when going anywhere. Plan on meeting back at specific times during the day.

- Only travel during the day.

- Do not stray from the plan without agreement from all parties on the trip.

  - Contacts

    - On-the-ground phone number and email for travel team

    - Nearest US Consulate Contact Information

Embassy of the United States of America
#1, Street 96, Sangkat Wat Phnom, Khan Daun Penh, Phnom Penh
Embassy Tel: (855-23) 728-000
Embassy Fax: (855-23) 728-600

    - Nearest Hospitals and Medical Contact Information

List of Doctors, Hospitals and Pharmacies

- AMBULANCE (S.A.M.U.) Calmette Hospital, Phnom Penh Tel: (023) 724-891 / (023) 723-840 Mobile: (012) 974-119 or just dial 119 Mobile: (012) 665-205 (Dr. Kann, Trea) Mobile: (012) 333-535 (Dr. Touch, Oudom)

- Clinic Sokhapheap Thmey, Qualitas Medical Group (Cambodia) Co., Ltd., No 25, street 71, BKK 1, Chamcar Morn, Phnom Penh, Cambodia Tel: 016 996 616 / 092 438 780 info@sokhapheapthmey.org

- AMERICAN MEDICAL CENTER (24-hour)                                                  Tel: (023) 991-863 / (012) 891-613 (24-hour) Dr. Reid (Director / Surgeon - U.N. Designated) - H/P: (012) 591-041  Dr. Steve Isleso: the other surgeon            Hotel Cambodiana Ground Floor, Suite #3, Phnom Penh

- ANGKOR CHILDREN HOSPITAL Tel: (063) 963-409 Fax: (063)760-450 Mr. David Schumacher Sivatha Boulevard, Siem Reap

- CALMETTE HOSPITAL Tel: (023) 426-948 / (011) 426-948 (Hotline)  Fax: (023) 427-792 #3, Monivong Boulevard, Phnom Penh

- COMMUNITY AND FAMILY MEDICAL CLINIC Tel/Fax: (023) 217-349 262B Trasak Paem Street (St. 63), Phnom Penh

- EUROPEAN DENTAL CLINIC Tel: (023) 362-656 / (023) 211-363 / (012) 854-408 (Emergencies) 160 A, Norodom Boulevard, Phnom Penh

- HOSPITAL BAYON Tel: (023) 214-537 Mobile: (012) 908-918 #327, Norodom Boulevard, Phnom Penh

- INTERNATIONAL PHYSIOTHERAPY CLINIC Tel: (012) 802-725 Dr. Jean-Claude Dhuez #29B, Street 288, Phnom Penh

- INTERNATIONAL S.O.S. Tel: (023) 216-911 Fax: (023) 215-811 Dr. Cousin (Pediatian & Internal Medicine) Dr. John Santoro (Chief Dental Officer)  #161, Street 51 (Pasteur), Phnom Penh

- NAGA CLINIC Tel/Fax: (023) 211-300 Mobile: (012) 767-505 Dr. Jean Claude Garen #11, Street 254, Phnom Penh

- NAGA PHARMACY CENTER (24 hours) Tel/Fax: (023) 212-324 413 Srisawat St. (across from Himavari Apartment), Phnom Penh

- PHARMACIE DE LA GARE Tel/Fax: 023-430-205 Mobile:  012-805-908 Mobile:  016-805-908 N° 81Eo, Preah Monivong 12201 Phnom Penh, Cambodia

- RAFFLES MEDICAL CENTER Tel/Fax: (023) 218-393 / (023) 426-288 Ext 650 New Number  : (023) 991-166        Manager: Ly Kok Leang- (012) 804-088; Dr. Michael Soh – (012) 908-188; Dr. Somary Uch - H/P: (012) 818-088 ;  Dr. Phillip Shepherd – (012) 908-188 Hotel Cambodiana Ground Floor Office #7, Phnom Penh

- Budget

  - Cost

| Expense | Total Cost |
| --- | --- |
| Airfare | $5,600 |
| On Ground | $400 |
| Materials | $200 for Assessment Unknown for Implementation |
| Other | $600 (10% Contingency) |
| Total | $6,800 |

  - Hours

| Names | # of Weeks | Hours/Week | Trip Hours | Total Hours |
| --- | --- | --- | --- | --- |
| Project Lead Mr. White | 20 | 10 | 168 | 368 |
| Mentor (list name) N/A | N/A | N/A | N/A | N/A |
| Other Team Members | 20 | 50 | 168*3 = 364 | 1,364 |

  - Donors and Funding

| Donor Name | Type (company, foundation, private, in-kind) | Account Kept at EWB-USA? | Amount |
| --- | --- | --- | --- |
| Previous Private Donors | Private | Yes | $1,000 |
| Team Member Contributions | Private | Yes | $2,000 |
| Future Private Donors | Private | Yes | $5,000 |
| Anticipated Rotary Club Donation | Foundation | Yes | $5,000 |
| Total Amount Raised: |  |  | $1,000 |
| Total Anticipated Funding: |  |  | $12,000 |

- Project Location

Descriptive location:

- South East Cambodia, 80 km South of Phnom Penh.

- Takeo Province, Talle Batti community

- Village Names: Phum Muen Protsjan, Phum Phraet, Phum Dawndong

- Approximately 6 km radius covering the three villages

Longitude: E104o 51’ 45”

Latitude: N o 11 15’ 24”

- Project Impact

Persons directly affected:

The entire population of the 3 Talle Batti villages, approximately 3,500 People.

Persons indirectly affected:

Currently unknown, if sanitation and waste output is a factor other villages may also be affected.  However, impact is likely to be low outside of Talle Batti communities.

Pre-Assessment Report Part 2 – Technical Information

- INTRODUCTION

The 3 villages of the Talle Batti community have a water supply problem which is causing many health issues in the villages. There is a lack of clean water which has been proven through water quality testing performed at various well locations in these villages. Due to the use of dirty drinking water there are several diseases in the village and a high child mortality rate.

The in country NGO named Cambodian-Dutch Organiztion (CDO) filled out the application to EWB-USA in hopes of finding innovative and sustainable solutions to these problems.

EWB- Hampton Roads decided to apply to this project as their first international project due to the general interest from the group and also a lack of interest for this project from other EWB chapters.  Our group hopes the experience and dedication of its members can work with these three Cambodian villages to develop the solutions needed for a clean and consistent water supply.

- PROGRAM BACKGROUND

As with many EWB communities, the Talle Batti villages have a history of pseudo solutions to water supply and quality that have simply deteriorated as time has passed.  The first solution was the installation of wells in these communities which have since become clogged providing little water which is highly contaminated.

Another attempted solution was the distribution of three water filters to the various communities which, even if providing safe water, has not convinced the communities to utilize them due to a continued bad odor and water color post filtration

Any solution that EWB-HR along with the community and NGO comes up with, must address the issues of poor water quality, sources of water, current wells and their capabilities along with sources of contamination, such as poor sanitation practices.

Below is a breakdown of each village and the specific issues as stated by the NGO:

Phum Muen Protsjan Village:

- 5 water pumps were installed in the past. From these pumps only 2 give a very small amount of water after intensive pumping.

- Currently clean water is brought in on motorbikes and people have to pay for the water.  Most in the community cannot afford this service.

Phum Phraet village:

- There is a well in the center of the community that is deep enough to ensure water but even the animals are dying when drinking the water. This well is not used anymore

- There is water distribution at the pagoda in the village, however the community members must also pay for this which most cannot afford.

Phum Dawndong village:

- Currently the existence of a water pump or well is unknown.

- The village gets its water from a small pond. The pond is located in the middle of the village.

Other Information:

- During the rainy season the rain water is captured and saved in large barrels

- In the dry season finding water is much more difficult. Most families take their water from the ditches.

- In 2007 three water filters were introduced, one in each village. Still, the filtered water still has a bad smell and a yellow-brown color. The villagers are not convinced to use this water.

- Within one year of installing the hand pumps they were all not functioning anymore.  The group who installed the pumps came back to repair them once and again within one year the pumps were broken again.

There will clearly be many technical challenges with this project which include finding a steady supply of water, ensuring this is clean and accessible to all community members, and addressing any sanitation issues which may be negatively affecting their water.  On top of these challenges, our group will have to work hard to build confidence in the community that our involvement will be a long term and will not end until we are sure that each village will be capable of managing a working, affordable and sustainable water supply system.

- OBJECTIVES OF SITE ASSESSMENT TRIP:

  - Project evaluation objectives:

    - Discuss the community’s needs, expectations of us and the NGO, their role in the project, and their current perceptions of problems.

    - Through interviews gain an understanding of the history of the problem.  How it has changed over the years and the impacts of other organizations that had previously helped.

    - Determine full breadth of the project to understand all needs and community capabilities.  Evaluate if water supply and quality is the only major need.

    - Determine most immediate problem for community, form an order of completion for other project phases.

    - Gather sufficient data on site to work on a designed solution for at least the first project implementation phase. (Types of data described in section 5.0)

  - Cultural Objectives

    - Establish a bond with the community, NGO and any other involved organizations.

    - Gain an understanding for the current social, economical and governmental systems in the community to analyze the potential impact on the project.

    - Learn about the cultural history of the communities and the impact a project such as ours may have.

    - Evaluate societal segmentation and the potential impact on the project.

    - Ensure local support for the project throughout the communities and illustrate a continued involvement from our group until the community is sufficient to manage the project on their own.

    - Facilitate discussions for community ownership of the project and required community structure to ensure success.

  - Logistical objectives:

    - Determine sources and prices for various tools and building materials in the area.

    - Evaluate community capabilities with construction.  Determine if outside laborers/contractors will be necessary.

    - Gain further understanding of NGO resources, connections and capabilities during the course of the project.

    - Discuss budget and project support funding with NGO and community.  Determine capabilities for continued funding through these sources.

  - Environmental assessment objectives:

    - Determine possible environmental issues which have led to the current water problems. (Sanitation, livestock, upstream contamination)

    - Examine possible materials necessary for project and evaluate their sustainability and generated waste.

    - Evaluate possible damage to ecosystems from project success.

    - Determine long term feasibility of current water usage and future usage based on community growth.

    - Study the current environmental impacts of sanitation system and evaluate if a new system is necessary to protect the environment and local water supply for future use.

  - Community health objectives:

    - Collect necessary data for community health assessment in order to establish baseline for project success.

    - Evaluate capabilities of healthcare in the community; establish relationship with community health center to gather accurate data during assessment.

    - Determine relationship between current water quality problems and health issues throughout community.  Also gather historical records if possible.

- COMMUNITY INFORMATION

  - Description of Community

The Talle Batti community consists of three villages within 6km of each other. Phum Muen Protsjan has about 1,300 inhabitants, approximately 390 of which are children, Phum Phraet has about 1,000 inhabitants and Phum Dawndong has 1,200 inhabitants. While the majority of families depend upon cultivation of rice in the village, other activities nearby include fishing, wood harvesting, and several industries, including textiles, in Phnom Phen. The land area is mainly cultivated land, however there are dense forested areas nearby as well which are likely to be a consideration for the environmental impact of the project.  The villages are very poor but there is not any social turmoil. The community members are Khmer and Buddhist.

Each community has a man as the head leader, and they all defer to one man who is head decision maker for all three villages that comprise Talle Batti.

  - Community/NGO Resources and Constraints

The Cambodia Dutch Organization is very active in the region and with the community of Talle Batti. The founder of CDO has a home in the area in conjunction with a local family. The CDO personnel have been very forthcoming with background information and cultural and travel advice for our assessment trip. Several translators will be arranged for us through the CDO.  The CDO has also arranged for living arrangements during the course of our stay for the assessment trip.

  - Community Relations

The communities are receptive to outside NGO help but because of past failures with pumps, wells and filters and subsequent desertion by other NGOs, our approach and attitude need to be carefully planned out. It is very important that we involve the villagers in the problem solving process and that we convey our commitment to finding a long lasting solution.

  - Community Priorities

Currently the stated priority for the community is to obtain a steady supply of clean drinking water.  Since there are several different water sources, the quality of the water will likely be a larger problem than the quantity.   It will be necessary to find feasible solutions to treat the water while ensuring that the supplies are adequate to support the community.

While water availability appears to be good during rainy season, the dry season poses a risk of water shortages for the community.  Securing water resources during this time frame will go hand in hand with treating the water for consumption.

Sanitation is likely to be a secondary but crucial issue.  Due to the fact that previously tested water samples contained high levels of coliforms, it is highly probable that current sanitation methods or farming practices are contaminating water supplies.  It will be necessary to address these issues while we progress through the project.

Working with the community in creation of a water board to learn how to construct, maintain and organize funding to ensure project sustainability will also be an ongoing process during the course of our involvement.

- DATA COLLECTION AND ANALYSIS

  - Site Mapping

    - GPS coordinates will be taken to properly map current water sources and existing water supply infrastructure, proximity to the villages and the relative proximity of the villages to each other.

    - Determine if a unified solution is possible or if the problem can be better solved individually for each village.

    - Elevation pictures will be taken to evaluate the terrain surrounding each site.  This will help determine the accessibility of the site and the feasibility of various energy sources if the situation calls for them.

  - Technical Data Collection

All data, collection sites and methods are listed in Table 5-1.

Forms to be used during data collection shown in Appendix A

    - Water samples from each of the three village water sources will be taken and analyzed on site and in Phnom Penh (see table 5-1 for tests to be performed and testing sites)

    - We will also check each village’s filter for cleanliness and proper installation and examine the existing pumps at Phum Muen Protsjan.

    - Any identifying information on the pump will be taken in order to find its specifications and a visual inspection of the pump internals (seals, check valves, etc.) will be done.

    - A more thorough study of Phum Dawndong will be conducted.  We’ll confirm the absence of any wells or pumps at the site and document the current method of water treatment and collection.

    - A survey of the location sanitation systems will be conducted.  This will include capturing locations, methods, relative amounts.  Poor sanitation is likely contributing to the contamination of the water supplies.

    - We will also survey the resources available in and around the villages in preparation for the construction phase.

Table 5-1: Technical Data and Site Collection Information

| Required Data | Collection Site | Collection Method |
| --- | --- | --- |
| Current pump/ filter capabilities | 5 Pumps in Phum Muen Protsjan Deep well with poor water, Phum Phraet Collection pond in Phum Dawndong, 3 filters currently used in community | Testing and possible disassembly of pumps Evaluate feasibility of pump install at well. Evaluate feasibility of pump from collection pond Determine status and capabilities of filters |
| Water quality | At each pump site in Phum Muen Protsjan Delivered water at each site Deep well in center of Phum Phraet Pond in Phum Dawndong Rainwater in each town Other available sources River Lakes Pre and post filters currently used in the communities | Local testing using Hatch kit. Test for: Bacteria Turbidity Nitrates, Nitrites pH Pollution US lab based test RDI-Cambodia testing facility |
| Water quantity | 3 Aquifers Average rainfall research Streams/rivers if applicable | Depth of wells/ capacities Depth to groundwater Flowrates / pipe dimensions Research of rainfall from records. |
| Water Demand | All 3 communities | Potable / non-potable needs based on interviews with community/ngo, observation |
| Soil classification | Above the 3 aquifers, in community area. | Percolation testing, soil sample testing at US lab. |
| Current Sanitation | All 3 communities | Survey and document locations and methods of waste disposal. |
| Local available Resources | In community, nearby surrounding towns | Research for available construction materials Determination of who can provide these and cost |

  - Monitoring and Evaluation of Data

Although this project is comprised of all three villages, the best way to track success will involve breaking each village into a distinct set of metrics.

For the initial assessment trip our main technical objectives are to:

- Develop an overall site map,

- Create a report analyzing the water quality at each site,

- A brief write up assessing the design and current state of each water supply system.

- Evaluate the current health status of the community

Our post-assessment report will explain the current equipment and methods used to filter and collect the water, assess the current state of the equipment, and give an engineering recommendation on the serviceability of the system.  This information should be enough to begin plans for system repairs/designs.  Once implemented, we will require another report analyzing the water quality at each site as well as a report documenting the performance of each system.  This will require the static head, the flow rate each system is capable of providing, and the recovery rate (preferably in the dry season if travel allows), as well as the general impressions of the villagers.

Community health surveys, taken both before and after project implementation, will also be a main metric for determining the effectiveness of the project.

Table 5-2: Metrics used for monitoring project success

| Type of metric | Metric used |
| --- | --- |
| Technical | Water Supply | Water quality Water quantity |
|  | Sanitation | Location of wastewater Amount of wastewater |
| Economical | Availability of supplies Increased economic productivity |
| Social | Community needs and expectations Health assessment surveys Population growth |
| Environmental | Evaluation of toxins/metals in water Depletion/refill rate of aquifers Depletion of local resources from construction Potential impacts including toxic chemicals, destruction of animal habitat, population growth. |

- SCHEDULE OF TASKS

Task List During Assessment Trip:

- Meet with NGO and discuss plan for the assessment trip.

  - Gather any information they may be able to provide including pertinent health information

- Gather supplies necessary for our stay

- Visit each village and perform the following tasks:

  - Meet with village representatives and explain who we are, the goal of our project, how they can help etc.

  - Determine if village has a local health clinic and meet with representative to collect data for health assessment ( may only be one clinic for all three villages)

  - Talk to a sample of village members, both men and women, and collect general health assessment info and inquire about perceived issues with water supply.  Ensure sample includes upper and lower class of community

  - Evaluate the water need of the community, how much they use, through interviews and also visual observation

  - Go to each collection site listed in Table 5-1 (wells, ponds, etc) and estimate quantity of water, and general other info including details of pumps and filters.

  - Perform on-site testing of each water source listed in Table 5-1

  - Collect samples (if feasible) for quality testing in US and Phnom Phen.

  - Collect soil samples near wells and in other areas deemed pertinent throughout the community for testing.

  - Evaluate the current methods of sanitation through visual observation and possibly interviews with community members, leaders, or NGO.

    - Create table listing different methods of sanitation and general impressions.  Note any pertinent facts such as drain locations etc. which may impact water quality.

  - Elevation survey of pertinent water points and distribution areas.

  - Create a basic map of community including:

    - Location of wells and hand pumps

    - Location of water filters

    - Basic water piping layout (if any)

    - Basic sanitation schematic

- Reconvene as group and discuss possible interim measures including:

  - Minor maintenance of wells

  - Plan of action for addressing the community issues.

  - Education of the community in use of the filters/pumps.

- Meet with the water committees in the community to discuss current problems and possible solutions for these problems.

- PROJECT FEASIBILITY

The feasibility of the project will be based upon several factors which will be evaluated during the course of the assessment trip.  While it is nearly impossible to currently state all of the possible factors which will influence the feasibility of the project, some factors which will be evaluated during the trip include:

- Current state of water systems, if minor repairs can work or if major overhaul must be done.  May not impact feasibility but will affect length of involvement and cost.

- We must ensure that everyone in the community has a represented voice in how they want their water supplied.  If we determine the community is severely discriminatory and dictatorial with little consideration of a specific group, success of the project will likely be impossible.  However, from current info EWB-HR does not believe this to be the case.

- The feasibility of a water board we feel is also a crucial aspect to project success.  Without an overseeing body who is responsible for maintenance and continued expansion of a water system, the same issues of past will continue to happen including misuse and disrepair of pumps, filters resulting in poor water quality for all community members.

- Project fees are an unavoidable consideration for the feasibility of the project.  While EWB-HR will work hard to raise project funds, and the NGO has also promised to do the same, the long term solution may require small recurring fees to community members to ensure high quality drinking water for years to come.  The setup of a collection and monitoring board for these funds will also be a key necessity for the feasibility of the project.

- Sanitation practices are also a very major consideration for project success.  If it turns out that bad sanitation practices are directly impacting water quality we must address these issues.  It is possible that the community may be unwilling to change these practices, which, while not making the project necessarily unfeasible, will add great difficulties extending the length and cost of our involvement.

- As with all EWB projects, the involvement of an in country NGO or representative is crucial to maintain contact and report information between EWB trips.  If for some reason our NGO, Cambodia-Dutch Organization, decides to pull out of the community or cease their help with our group this would likely make the project unfeasible.  However, the likelihood of this is not high as CDO has an established reputation in the community and no current plans of leaving soon.

- MENTOR ASSESSMENT

Since our group is made up of Professionals and not students, we will not have a mentor specifically but a group of professionals with experience who will participate in the overall assessment of the community.  With travelling members who have 15+ years in water quality and treatment and some with previous EWB water project experience in foreign countries, our assessment is sure to be comprehensive and cover the necessary areas discussed above.

If time constraints prevent collection of all necessary data during the course of this assessment trip, it is likely there will be a second implementation trip prior to project implementation.

APPENDIX A: Forms to use during data collection

| TOPOGRAPHY/GEOLOGY |  |
| --- | --- |
| Project Location: | Date: |
| GPS ID: |
| Longitude |  | deg |  | min |  | sec | Notes: |
| Latitude |  | deg |  | min |  | sec |  |
| Elevation |  | (ft or m?) |  |
| Geology: |
| Maps or Reference: |
| General Notes on Terrain & Vegetation: |
| Map: |

| WELL |  |
| --- | --- |
| Project/Location: | Date: |
| GPS ID: |
| Longitude |  | deg |  | min |  | sec | Notes: |
| Latitude |  | deg |  | min |  | sec |  |
| Elevation |  | (ft or m?) |  |
| GENERAL CONDITIONS | WATER QUALITY |
| Depth to Groundwater |  | (ft or m?) |  |  | Units |  |  | Units |
| (high/low if seasonal) |  |  |  |  |  |  |  |  |
| Depth to Top of Sediments |  | (ft or m?) | pH |  |  | Copper |  | mg/L |
| Depth of Sediments in Well |  | (ft or m?) | Alkalinity |  | mg/L | Lead |  | mg/L |
| Diameter of Well |  | (ft or m?) | Chlorides |  | mg/L | Mercury |  | mg/L |
|  |  |  | NH3 |  | mg/L | Arsenic |  | mg/L |
|  |  |  | Nitrate |  | mg/L | Hardness |  | mg/L |
|  |  |  | Nitrite |  | mg/L | Coliform Bacteria |  | MPN |
| SOIL PROFILE: Describe Soil/Rock Subsurface |
| USE: | NOTES: |
| How Many People Use the Well? |  |
| Does the Well Go Dry/When? |  |
| What is Proximity of Livestock? |  |
| Well Priority (high/med/low)? |  |
| Can the aquifer support this use? |  |
| Who will monitor the aquifer? |  |
| Can the wellhead be protected? |
| ADDITIONAL NOTES: |
| SURFACE WATER |  |
| Project/Location: | Date: |
| GPS ID: |
| Longitude |  | deg |  | min |  | sec | Notes: |
| Latitude |  | deg |  | min |  | sec |  |
| Elevation |  | (ft or m?) |  |
| WATER QUALITY | Notes: |
|  |  | Units |  |  | Units |  |
| pH |  |  | Copper |  | mg/L |  |
| Alkalinity |  | mg/L | Lead |  | mg/L |  |
| Chlorides |  | mg/L | Mercury |  | mg/L |  |
| NH3 |  | mg/L | Arsenic |  | mg/L |  |
| Nitrate |  | mg/L | Hardness |  | mg/L |  |
| Nitrite |  | mg/L | Coliform Bacteria |  | MPN |  |
| Pollutants: |  |  | TPH |  | mg/L |  |
| VOCs |  | µg/L | Pesticides |  | µg/L |  |
| MAP: |
| RIVERS/STREAM |  |
| Project/Location: | Date: |
| Name of Water Body: |
| GPS ID: |
| Longitude |  | deg |  | min |  | sec | Notes: |
| Latitude |  | deg |  | min |  | sec |  |
| Elevation |  | (ft or m?) |  |
| RIVER/STREAM: |
| Width |  | m | Sketch Cross Section of River/Stream: |
| Depth |  | m |  |
| Velocity |  | m/s |  |
| Flow Rate |  | m3/s |  |
| WATER QUALITY | Notes: |
|  |  | Units |  |  | Units |  |
| pH |  |  | Copper |  | mg/L |  |
| Alkalinity |  | mg/L | Lead |  | mg/L |  |
| Chlorides |  | mg/L | Mercury |  | mg/L |  |
| NH3 |  | mg/L | Arsenic |  | mg/L |  |
| Nitrate |  | mg/L | Hardness |  | mg/L |  |
| Nitrite |  | mg/L | Coliform Bacteria |  |  |  |
| MAP: |