## Sheet1
LAND OF PEACE HOSPITAL
A | SKELTON WORK -270$ /meter square |  |  | 2833510
B | FINISH WORK -300$ /meter square |  |  | 2903900
C | SITE WORK -100$ /meter square |  |  | 981300
D | ELECTRICAL WORK -200$ /meter square |  |  | 1802600
E | MECHANICAL WORK -390$ /meter square |  |  | 3915070
F | Medical Equipment FOR 110 Beds |  |  | 500000
1 | X-Ray Department
| 1 | CT Scan 16 slice system |  | 700000
| 2 | Digital Flouroscopy |  | 400000
| 3 | Plane X-Ray machine |  | 90000
| 4 | Open Mri 1.5Tesla-32 CHANNEL |  | 2000000
| 5 | Color doppler ultrasound |  | 120000
| 6 | Bone densitometer |  | 80000
| 7 | Mammography X-RAY UNIT |  | 500000
2 | ICU two beds
| 1 | ICUBed QTY: 2 |  | 14000
| 2 | Central station |  | 8000
| 3 | Patient Monitor QTY :2 |  | 20000
| 4 | Ventilator |  | 20000
| 5 | Defibrilator with monitorQTY :2 |  | 14000
| 6 | ECG Machine 12 ChQTY :2 |  | 13000
| 7 | Emeregncy TrolleyQTY :2 |  | 14000
| 8 | Infusion Pumps QTY:4 |  | 8000
| 9 | Syringe pump QTY:2 |  | 9000
3 | CSSD
| 1 | Autoclave large QTY;2 |  | 140000
| 2 | Instrumnet washer |  | 20000
| 3 | Stailess Steel tables |  | 10000
| 4 | Trolley |  | 2000
4 | ER
| 1 | Defibrilator with monitor |  | 7000
| 2 | ECG machine 12 Ch QTY:2 |  | 7000
| 3 | Dry autoclave |  | 2000
| 4 | Patient Monitor QTY:2 |  | 10000
| 5 | NIBP with SPO2 monitor QTY:2 |  | 4000
| 6 | Paient strecher QTY;5 |  | 25000
| 7 | Examination table |  | 900
| 8 | Autopthalmoscope wall mounted QTY:6 |  | 52000
| 9 | Emeregncy Trolley QTY;2 |  | 8000
| 10 | Deressing Trolley |  | 2500
| 11 | Plaster Trolley |  | 1000
| 12 | Cast Saw with Vacuum |  | 5000
| 13 | Cast instruments |  | 2000
| 14 | Electrosurgical Unit |  | 5000
| 15 | Ceiling Light |  | 15000
| 16 | Operating table |  | 15000
| 17 | Anesthesia Machine |  | 40000
| 18 | Anesthesia Trolley |  | 2000
| 19 | Patient Monitor QTY:1 |  | 8000
| 20 | Weighing Scale with Hieght meter |  | 2000
| 21 | Mobile X-Ray |  | 40000
| 22 | Wheel Chair QTY:2 |  | 3000
| 23 | Electrical Suction machine |  | 20000
| 24 | AmbulanceQTY:2 |  | 200000
5 | Laboratory
| 1 | Centrifuge |  | 4000
| 2 | Water Bath QTY:2 |  | 1500
| 3 | CBC analayser |  | 15000
| 4 | Chemistry analyzer |  | 21000
| 5 | Axsym system ( hermon Drugs level) |  | 25000
| 6 | Vertical Autoclave |  | 5000
| 7 | Incubator |  | 2500
| 8 | Elisa machine |  | 5000
| 9 | Electrolytes |  | 8000
| 10 | Coaglometer |  | 4000
| 11 | Microscope |  | 15000
| 12 | Microscope |  | 3000
| 13 | refrigrator |  | 5000
| 14 | Blood Bank refrigerator |  | 9000
| 15 | Shaker QTY:3 |  | 2000
| 16 | Refrigreted centrifuge |  | 5000
6 | OR
| 1 | Operating Table QTY:3 |  | 75000
| 2 | Orthopedic accessories |  | 30000
| 3 | Anesthesia Machine |  | 80000
| 4 | Patient Monitor QTY;3 |  | 40000
| 5 | Opearting light QTY;3 |  | 60000
| 6 | Anesthesia Trolley QTY:3 |  | 12000
| 7 | Mayo Table QTY;3 |  | 3000
| 8 | Suction Machine QTY;3 |  | 6900
| 9 | Electrosurgical unit QTY;3 |  | 20000
| 10 | C-Arm X-ray machine |  | 300000
| 11 | surgical instrumnets QTY;3 |  | 15000
| 12 | Scrub Sink QTY;3 |  | 20000
| 13 | Complete laparoscopy system |  | 420000
| 14 | Air purifier QTY;3 |  | 55000
| 15 | Emergenct trolley with DC scok |  | 10000
| 16 | Infusion pump QTY:3 |  | 7000
| 17 | Blood pressure monitor |  | 5000
| 18 | Paient Monitor QTY:3 |  | 25000
| 19 | Patient trolley QTY:3 |  | 9000
| 20 | Cystoscopy |  | 7000
| 21 | Colposcope |  | 15000
8 | Outpatients Clinics
| 1 | Endoscopy UNIT |  | 128000
| 2 | ECG machine QTY:2 |  | 7000
| 3 | Defibrilator Monitor |  | 7000
| 4 | Suction machine Qty:2 |  | 8000
| 5 | Wall mounted Autopthalmoscope QTY:5 |  | 10000
| 6 | Examination bed QTY:5 |  | 9800
| 7 | ENT clinic |  | 20000
| 8 | Dental Clinic |  | 50000
9 | Dialysis Department Qty:5
| 1 | 5 Dialysis unit |  | 125000
| 2 | RO water system |  | 40000
| 3 | Dialysis chair Qty:5 |  | 30000
10 | Cath lab department |  |  | 3000000
11 | Hospital Beds with Bed side cabinet with Over bed table QTY: 110 |  |  | 780000
12 | O2 Flowmeters QTY:120 |  |  | 29000
13 | Suction unit wall mounted Qty:120 |  |  | 52000
14 | Infision pump QTY:20 |  |  | 60000
15 | Syring Pumps QTY:20 |  |  | 40000
16 | PACS /RIS |  |  | 500000
17 | Morturey |  |  | 70000
18 | Kitchen and Laundry equipment |  |  | 200000
19 | Soters shelves |  |  | 30000
20 | Adminstrative furniture |  |  | 340000
21 | CAFTERIA equipment |  |  | 50000
22 | PHARMACY |  |  | 40000
23 | Elevators QTY:7 |  |  | 900000
24 | escalator Qty:2 |  |  | 50000
G | PARKING BUILDING |  |  | 3000000
| electricity Lines from electricity company |  |  | 600000
H | WATER RESERVOIR |  |  | 30000
I | Department of Physical Therapy |  |  | 600000
J | LAND |  |  | 3250000 | (3500000-4000000) DEPENDS ON LOCATION
| TOTAL |  |  | 32995480
K | Cancer Department under |  | study BECAUSE ( the treatment of cancer Diseases is Expensive)
AS
| Pathology lab |  |  | 200000
| Radio therapy |  |  | 10000000