Project Capital Budget and Cash Flow Analysis

Waste Characterisation and Preliminary Design of Bioreactors

Design Parameters

Chemical Oxygen Demand (COD)

15,000 mg/l

Solid Waste + Wastewater Volume

1,000 m

3

+ 500 cubic metre/day

Size of the Solid Digester + AFF Biogas Reactor

1,250 m   + 750  cubic metre

3

Estimated Land Area Required

0.05 Hectares

1,800

Estimated Number of Household Served)

2,250

Equivalent Power Generation for Lighting)

150 KW

3

Daily Consumption by Peri-urban Poor Households in KWH for 5 hours  of Lighting

1.6 KWH

Monthly Consumption by Urban Poor Households in KWH

48KWH

Government Electricity Tariff in Nigeria for the Consumption

USD  10.0  Per Month

Proposed Tariff for  our Off-grid Lighting from Cassava Waste

USD 4.0 Per Month

Cost of the  Solid Digester  and AFF Bioreactor

USD 140,000

3

3

Cost of the Microturbines and Off-grid Lighting Systems

USD 110,000

Cost of  Compact Fluorescent Lamps for 2,250 Users (4No. Per Household)

USD 10,000

Personnel Cost

USD 25,000

Multi-stakeholders workshop

USD 5,000

Travel Cost

USD 10,000

Monitoring and Evaluation

USD 5,000

General Administration

USD 5,000

Total Project Cost

USD 310,000.00

Capital Budgetting

Cash Flow

Estimated Monthly Revenue from the  Off-grid Lighting Tariff

USD 9,000

Estimated Annual Revenue from the  Off-grid Lighting Tariff

USD  108,000

Proposed Annual Operation and Maintenenance Costs

USD 21,600

Cash Flow Analysis

Annual Revenue (Less Annual O & M) Costs (20%)

Year 1  (DM Funding + Loan from Cows to Kilowatts Partnership Limited)

USD 310,000

Year 2  [Annual Revenue (Less 20% Annual O & M Costs)]

USD  86,400

Year 3 [Annual Revenue (Less 20% Annual O & M Costs)]

USD 86,400

Pay-back period (years)

3.5 Years