## Classroom BOQ
CHARITY CENTRE FOR CHILDREN AND YOUTH DEVELOPMENT
BILL 1-ESTIMATED BILL OF QUANTITY FOR A CLASSROOM BROCK
M | DESCRIPTION | UNIT | QTY | RATE | TOTAL ZMW | Ex rate/ US$ | TOTAL US$
A | MOBILISATION AND DEMOBILISATION
1 | Allow for preliminaries and general items | Item | 1 | 15000 | 15000 | 10.94 | 1371.1152
[5 empty] | 0 | 10.94
| SUBSTRUCTURE |  |  |  | 0 | 10.94
[5 empty] | 0 | 10.94
| EXCAVATIONS AND EARTH WORKS |  |  |  | 0 | 10.94
1 | Excavate top soil and dispose off site within avarage depth 150mm to clear the site. | M2 | 270 | 5 | 1350 | 10.94 | 123.4004
2 | Extra over excavation for excavating in rock (provisional) | M3 | 2 | 100 | 200 | 10.94 | 18.2815
3 | Excavate not exceeding 800mm deep for foundation trenches and get out. | M3 | 75 | 19 | 1425 | 10.94 | 130.2559
4 | Supply, lay and compact and level imported latrerite to 95% MADAASHO on area as instructed by the Engineer. | M2 | 93 | 5 | 465 | 10.94 | 42.5046
5 | Allow for provision of antitermite and apply as per manufacture's instructions. | Item | 1 | 1000 | 1000 | 10.94 | 91.4077
6 | Include provisional sum for plunking and strutting in faces of excavations in areas as per recommanded by an Engineer. | Item | 1 | 500 | 500 | 10.94 | 45.7038
7 | Include provisional sum for dewaterng and disposal of water. Thereby keeping all excavations free from rain, surface and percolating water, mud and silt prior to pouring of concrete in footing. | Item | 1 | 300 | 300 | 10.94 | 27.4223
[5 empty] | 0 | 10.94
| Concrete Works |  |  |  | 0 | 10.94
8 | Supply, mix and lay 50mm concrete blinding ratio 1:3:6. | M2 | 93 | 45 | 4185 | 10.94 | 382.5411
9 | Supply, mix and lay reinfoced vibrated concrete footing 1:2:4 200mm thick. | M3 | 18.6 | 860 | 15996 | 10.94 | 1462.1572
[5 empty] | 0 | 10.94
| Brick Work |  |  |  | 0 | 10.94
10 | Supply and lay 200mm thick burnt bricks in cement/sand mortar 1:3 reinforced with 6" brickforce (brickforce measured separetely. | M2 | 124 | 40 | 4960 | 10.94 | 453.3821
11 | Supply and lay brickforce in foundation walls every third course. | M | 320 | 3 | 960 | 10.94 | 87.7514
[5 empty] | 0 | 10.94
| To Collection |  |  |  | 46341 | 10.94 | 4235.9232
10.94
[5 empty] | 0 | 10.94 | 0
| Concrete Slab |  |  |  | 0 | 10.94 | 0
12 | Supply and fix to vertical sides of foundation concrete exceeding 200mm but not exceeding 300mm high. | Item | 1 | 8000 | 8000 | 10.94 | 731.2614
13 | Supply and lay 250mm hardcore, layer and compacted in 100mm layers | M3 | 64 | 60 | 3840 | 10.94 | 351.0055
14 | Supply and lay polythen (damp proof mambrane) on well compacted hardcore prior to pouring of concrete slab and overlapped 150mm at all sides, ends and intersections, (overlap not included in measured separete). | M2 | 134 | 3 | 402 | 10.94 | 36.7459
15 | Supply conforce steel fabric reinforcement 86 laid on well compacted slab, reinforced with conforce (reinforcement measured separete and overlaps not included) | M2 | 134 | 28 | 3752 | 10.94 | 342.9616
16 | Supply, mix and cast (1:2:4) 100mm thick vibrated concrete slab, reinforced with conforce (reinforcement measured separete. | M2 | 256 | 90 | 23040 | 10.94 | 2106.0329
17 | Allow for 150mm x 150mm concrete testing cubes in the presence of an Engineer and client's representative (provisional). | No | 2 | 150 | 300 | 10.94 | 27.4223
18 | Supply and apply 19mm thick cement sand plaster (1:4) to sides of foundation walls. | M2 | 64 | 62 | 3968 | 10.94 | 362.7057
19 | Supply and paint two coats bituminious black to sides of foundation walls. | M2 | 64 | 15 | 960 | 10.94 | 87.7514
[5 empty] | 0 | 10.94 | 0
[5 empty] | 0 | 10.94 | 0
| SUPERSTRUCTURE |  |  |  | 0 | 10.94 | 0
| Brickwork and Blockwork |  |  |  | 0 | 10.94 | 0
1 | Supply and lay 150mm damp proof course (DPC) horizontally for blockwork to be constructed. | M | 134 | 5 | 670 | 10.94 | 61.2431
2 | Supply and construc wall with 6" hollow burnt bricks bonded with cement/ sand ratio 1:4, reinforced with brickforce 6" (reinforcement measured separetly). | M2 | 373 | 45 | 16785 | 10.94 | 1534.2779
3 | Supply and lay 4" brickforce to ditto every third course | M | 320 | 3 | 960 | 10.94 | 87.7514
4 | Supply and construct with burnt bricks 400 x 200 pillars to corridors, plastered with 15mm cement/sand mortar 1:4 and smooth | M2 | 25.2 | 65 | 1638 | 10.94 | 149.7258
[5 empty] | 0 | 10.94 | 0
[5 empty] | 0 | 10.94 | 0
| To Collection |  |  |  | 64315 | 10.94 | 5878.8848
10.94
5 | Supply and lay 100mm thick bull nosed face bricks on edge cill with flush mortar joints. | M | 25 | 45 | 1125 | 10.94 | 102.8336
6 | Supply and fix formwork to ring beam. | M | 122.05 | 20 | 2441 | 10.94 | 223.1261
7 | Supply and fix formwork to side of lintols | Item | 1 | 400 | 400 | 10.94 | 36.5631
8 | Allow for reinforcement in ring beam and lintols with Y 12 main bars, 4 No, linked with R6, links measured separetely. | KG | 476.87 | 12 | 5722.44 | 10.94 | 523.075
9 | Provide links for reinforcement R6 spaced at 150 c/c to ring beam. | KG | 318.44 | 12 | 3821.28 | 10.94 | 349.2943
10 | Supply, mix and pour 1:3:5 vibrated concrete in reinforced ring beam and lintol, reinforcement measured separetely. | M3 | 4.882 | 900 | 4393.8 | 10.94 | 401.6271
11 | Supply and fix 150mm x 150mm PVC paired airbricks, building into 200mm thick wall and rendered in cement sand mortar 1:4, finish with steel froat. | No |  | 18.5 | 0 | 10.94 | 0
[5 empty] | 0 | 10.94
| Construction of a Roof |  |  |  | 0 | 10.94
| All timber shall be treated with approved wood preservative. |  |  |  | 0 | 10.94
1 | Supply and fix 100mm treated swan softwood timber to wall plate. | M | 300 | 15.5 | 4650 | 10.94 | 425.0457
2 | Truss members 100mm x 50mm treated sw timber, spaced at 1500mm c/c | M | 660 | 15.5 | 10230 | 10.94 | 935.1005
3 | Purlins: 75mm x 50mm | M | 400 | 12 | 4800 | 10.94 | 438.7569
4 | 200 x 25mm decorated fascia board fixed to ends of rafters with sprayed heading joints and short lenghts (neatly angled). | M | 84 | 25 | 2100 | 10.94 | 191.9561
5 | Supply and fix IBR/IT4 factory coated roofing sheetings to slope not exceeding 45 degrees and fixed to soft wood timber trusses with galvanised steel diamond washers, 200mm end overlaps (net measurement) | M2 | 335 | 130 | 43550 | 10.94 | 3980.8044
6 | Supply and fix ridge capping | M | 33 | 28 | 924 | 10.94 | 84.4607
[5 empty] | 0 | 10.94
| Metal Work and Glassing |  |  |  | 0 | 10.94
| Doors and Window specifications must be read in conjunction with the drawing shedules. All must be prime coated and painted with 2 caots gloss, pressed steel bouble redated door frames and built in: |  |  |  | 0 | 10.94
1 | Frame size 700mm x 2000mm overall to suit the wall | No | 5 | 200 | 1000 | 10.94 | 91.4077
2 | Frame size 800mm x 2000mm overall to suit the wall | No | 6 | 230 | 1380 | 10.94 | 126.1426
[5 empty] | 0 | 10.94
| To collection |  |  |  | 86537.52 | 10.94 | 7910.1938
10.94
4 | Cottage Section Metal window and building in, glass cutting measurement to be done prior to cutting and with reference to window schedule, inclusive of handles and peg stays. |  |  |  | 0 | 10.94
a | 1.2m x 1.1m | No | 16 | 550 | 8800 | 10.94 | 804.3876
b | 1.2m x 0.5m | No | 2 | 450 | 900 | 10.94 | 82.2669
c | 0.6m x 0.5m | No | 6 | 170 | 1020 | 10.94 | 93.2358
[5 empty] | 0 | 10.94
5 | Supply and fix 4mm thick obscure to wet places, fixed to window frames with well approved putty | M2 | 1.8 | 130 | 234 | 10.94 | 21.3894
6 | Supply and fix 4mm thick glass, cut and fixed to window frames with well approved putty, with smooth finish. | M2 | 24 | 105 | 2520 | 10.94 | 230.3473
7 | Supply and fix pre fabricated 12mm diameter mild steel rod as burglar bars, prime coated with two coats (provisional) | Item | 1 | 14000 | 14000 | 10.94 | 1279.7075
8 | Supply and fabricate grill doors to external entrance/ exit to client's prafered pattern and Engineers advice. | No | 6 | 1000 | 6000 | 10.94 | 548.4461
[5 empty] | 0 | 10.94
| Capentry, Joinery and Ironmongery |  |  |  | 0 | 10.94
9 | Supply and fix 40mm x 40mm treated swan softwood timber spaced at 500 c/c brandingering to wall and trusses. | M | 1100 | 10 | 11000 | 10.94 | 1005.4845
10 | Supply and fix 6mm rarticle board ceiling to brandering frame work, include …..mm wide cover strips, fixed to joints of particle board and inspection holes. | M2 | 224 | 35.4 | 7929.6 | 10.94 | 724.8263
11 | 75mm curved cornice fixed to ceiling, including closd joints with walls, sprayed heading joints and neatly mitred angle. | M | 210 | 7.3 | 1533 | 10.94 | 140.128
12 | Supply and fixe single flush doors to 800 x 2000 internal doors, complete with hinges and screws. | No | 5 | 175 | 875 | 10.94 | 79.9817
13 | Supply and fixe hardwood mukwa 800 x 2000 external doors, complete with hinges and screws. | No | 6 | 1200 | 7200 | 10.94 | 658.1353
14 | Supply and fix 3 lever mortice lock (YALE, or other make as client's preference and Engineer's advice) to all doors not less than 700mm wide. | No | 11 | 120 | 1320 | 10.94 | 120.6581
15 | Provisional sum for creation of curtain window punnels with faisure board timber, inclusive of supply, fix to wall and paid with undercoat and 2 coats gloss paint, coloured as per client's preference and architect's advice, estemated coverage, 30m. | Item | 1 | 1800 | 1800 | 10.94 | 164.5338
[5 empty] | 0 | 10.94
| To Collection |  |  |  | 65131.6 | 10.94 | 5953.5283
11 | Supply and fix softwood board notice boards (2.4 x 1.2) to wall inn knitting, computer, tailoring and library room, complete with strips as PVA paint. | No | 4 | 150 | 600 | 10.94 | 54.8446
12 | Supply and screw to wall j-hunging hooks at positions advised by supervisor (provisional) | No | 15 | 2 | 30 | 10.94 | 2.7422
13 | Supply and fix medicine cabinet size 450mm x 380mm 150mm with shelvess, hinged door with lock and catch, including mirror or face, plugging and screwing to blockwork in wet places. | No | 2 | 250 | 500 | 10.94 | 45.7038
14 | Supply and fix hand dryers to walls of ablutions, posioned as per supervisor's advice. | No | 2 | 150 | 300 | 10.94 | 27.4223
15 | Supply and fix 150mm x 150mm white glazed vitreous china semi recessed toilet roll holder and build into wall, including making goods all disturbed work. | No | 5 | 65 | 325 | 10.94 | 29.7075
16 | Supply and fix 4mm polished plate glass silvered mirror size not less than 400mm x 1200mm with bevelled and polished and screwed with brass screws, coated with chromium plated finished detachable dome head. | No | 2 | 180 | 360 | 10.94 | 32.9068
17 | Supply and apply undercoat to ceiling surfaces. | M2 | 224 | 5 | 1120 | 10.94 | 102.3766
18 | Supply and apply 2 coats of PVA white paint to ceiling, inclusive of clay brick PVA in decorated portions of partical board (optional painting style). | M2 | 224 | 15 | 3360 | 10.94 | 307.1298
19 | Supply, mix and apply c/s 1:3 15mm thick plaster to new external walls, finish with wood float. | M2 | 220 | 30 | 6600 | 10.94 | 603.2907
20 | Supply, mix and apply c/s 1:3 15mm thick plaster to new internal walls, finish with steelfloat. | M2 | 582 | 28 | 16296 | 10.94 | 1489.5795
21 | Supply and apply 2 coats of PVA paint to external walls, with clay/orange, or colour as per client's preference. | M2 | 220 | 15 | 3300 | 10.94 | 301.6453
22 | Supply and apply 2 coats of gloss white paint to internal walls from floor level, burge or colour as per client's preference. | M2 | 582 | 18 | 10476 | 10.94 | 957.5868
23 | Supply, fix and apply 2 coats of varnish to sanded 100mm skirting. | M | 210 | 6 | 1260 | 10.94 | 115.1737
24 | Supply, mix and cast floor screed with c/s 1:3, 38mm thick, finish with wood float to top slab prior to supplying and laying of floor tiles. | M2 | 224 | 45 | 10080 | 10.94 | 921.3894
25 | Supply and fix 38mm diameter door stop and plig and screw to floor. | No | 11 | 15 | 165 | 10.94 | 15.0823
26 | Supply and fix ceramic toilet tuissue holders to wall | No | 5 | 35 | 175 | 10.94 | 15.9963
27 | Provisional sum for executIve tables and sits | No | 4 | 5650 | 22600 | 10.94 | 2065.8135
28 | Provisional sum for blackboard and notice board nailed to wall complete with cover strip framing. | Item | 1 | 850 | 850 | 10.94 | 77.6965
29 | Carpentry work timber tops | Item | 1 | 3500 | 3500 | 10.94 | 319.9269
[5 empty] | 0 | 10.94
| To Collection |  |  |  | 81897 | 10.94 | 7486.0146
10.94
| ELECTICAL WORKS |  |  |  | 0 | 10.94
1 | 1 way 1 gang switch, PVC | No | 4 | 25 | 100 | 10.94 | 9.1408
2 | 3" x 3" metal boxes | No | 12 | 5 | 60 | 10.94 | 5.4845
3 | 2 way 2 gang PVC switches | No | 12 | 35 | 420 | 10.94 | 38.3912
4 | 13Amp Single PVC socket outlet (provisionally) | No | 2 | 45 | 90 | 10.94 | 8.2267
5 | 13 Amp Double PVC socket outlet | No | 16 | 55 | 880 | 10.94 | 80.4388
6 | 3" x 6" metal boxes | No | 16 | 8 | 128 | 10.94 | 11.7002
7 | bulb holders | No | 6 | 15 | 90 | 10.94 | 8.2267
8 | 18W energy server bulbs | No | 6 | 25 | 150 | 10.94 | 13.7112
9 | 1200 double tube fluorescent tube lights, complete with fittings, inclusive of cables and connects. | No | 12 | 150 | 1800 | 10.94 | 164.5338
10 | Provisional sum for conduits, 2.5mm and 1.5mm wiring cables, female, bends and other connection accessories. | Item | 1 | 5000 | 5000 | 10.94 | 457.0384
[5 empty] | 0 | 10.94
| PLUMBING WORKS |  |  |  | 0 | 10.94
| Note: These are provisional estimates |  |  |  | 0 | 10.94
11 | Allow for breaking holes as deemed necessary prior ti fix plumbing works and allow for making good all builder's work. | Item | 1 | 300 | 300 | 10.94 | 27.4223
| Supply and fix the following plumbing fittings for general points. |  |  |  | 0 | 10.94
12 | 3/4" Galvanised iron pipe | M | 50 | 40 | 2000 | 10.94 | 182.8154
13 | 1/2" Galvanised iron pipe | M | 12 | 28 | 336 | 10.94 | 30.713
14 | 3/4" Tee G. I | No | 20 | 8 | 160 | 10.94 | 14.6252
15 | 1/2" G.I Sockets | No | 24 | 10 | 240 | 10.94 | 21.9378
16 | 3/4" G. I Short Nipple | No | 20 | 8 | 160 | 10.94 | 14.6252
17 | 3/4" G. I Union | No | 15 | 8 | 120 | 10.94 | 10.9689
18 | 4" Y piece PVC | No | 8 | 45 | 360 | 10.94 | 32.9068
19 | 4" PVC sewer pipe | M | 60 | 45 | 2700 | 10.94 | 246.8007
20 | 4" PVC bend plain | No | 5 | 45 | 225 | 10.94 | 20.5667
21 | 100mm ventpipe, wire balloon | No | 5 | 145 | 725 | 10.94 | 66.2706
22 | 13mm diameter copper connectors | No | 4 | 48 | 192 | 10.94 | 17.5503
23 | Gulley traps | No | 5 | 85 | 425 | 10.94 | 38.8483
24 | 4" PVC pan connectors | No | 2 | 52 | 104 | 10.94 | 9.5064
25 | 38mm P-trap PVC | No | 2 | 40 | 80 | 10.94 | 7.3126
26 | Inspection Tees 110mm | No | 4 | 85 | 340 | 10.94 | 31.0786
27 | 3/4" Elbow | No | 5 | 8 | 40 | 10.94 | 3.6563
28 | 1/2" Elbow | No | 5 | 8 | 40 | 10.94 | 3.6563
29 | 3/4" and 1/2" G. I reducer | No | 5 | 8 | 40 | 10.94 | 3.6563
30 | 3/4" Gate valve | No | 5 | 48 | 240 | 10.94 | 21.9378
31 | ceramic toilet pan complete with seat and cover and 9 liters cistern with all accessories. | No | 5 | 680 | 3400 | 10.94 | 310.7861
32 | ceramic wash hand basin (smallest size, inclusive of pillat taps and brackets). | No | 2 | 200 | 400 | 10.94 | 36.5631
33 | Provisional amount for variational works on plumbing | Item | 1 | 1500 | 1500 | 10.94 | 137.1115
34 | Provisional sum for contact glue and sealin tapes | Item | 1 | 50 | 50 | 10.94 | 4.5704
35 | Sundrise, 500 solvent cement, 250mls silicon | Item | 1 | 250 | 250 | 10.94 | 22.8519
36 | Inspection bends | No | 2 | 20 | 40 | 10.94 | 3.6563
37 | Plain tees 110mm | No | 4 | 24 | 96 | 10.94 | 8.7751
38 | garden taps fixed to 800mm high G. I | No | 2 | 80 | 160 | 10.94 | 14.6252
[5 empty] | 0 | 10.94
| To Collection |  |  |  | 23441 | 10.94 | 2142.6874
10.94
| EXTERNAL WORKS |  |  |  | 0 | 10.94
| Construction of Manholes |  |  |  | 0 | 10.94
1 | Excavate soil 500 x 700 x 600, lay 50mm blinding and 100mm slab, supply and construct 450 x 600 x 600, 3No. Inspection hole in 6" concrete blocks, reinforced with brickforce and bonded with cement sand mortar 1:3, plastered with 15mm thick c/s and allow for provision of 450 x 600 concrete manhole covers and steel bar handle. | No | 3 | 300 | 900 | 10.94 | 82.2669
[5 empty] | 0 | 10.94
| Construction of Spoon Drain |  |  |  | 0 | 10.94
2 | Construct 600mm wide concrete spoon dran around the flats with concrete ratio 1:3:6 including all associated excavations and backfill | M | 50 | 65 | 3250 | 10.94 | 297.075
[5 empty] | 0 | 10.94
| Septic tank |  |  |  | 0 | 10.94
3 | Construct septic tank 2m X 1.5m X 2.5m depth and 0.4m above the ground level with reinforced slab of 2 X 1.5 X 0.1, confore wire 86, 2 X 1.5dpm, 6" concrete blocks reinforced concrete cover (Y 12 spaced at 200 c/c) and steel handle and 400 X 400 tight inspection hole and connect all associated plumbing works to the septic tank. | No | 1 | 6000 | 6000 | 10.94 | 548.4461
[5 empty] | 0 | 10.94
| Construction of soakaway |  |  |  | 0 | 10.94
4 | Construct the filled type of soakaway, including the excation of o.6 X 0.6 X 1.5, 6" concrete honey combed block work. Connect all associated plumbing works as directed by site Engineer. | No | 1 | 2500 | 2500 | 10.94 | 228.5192
[5 empty] | 0 | 10.94
| To Collection |  |  |  | 12650 | 10.94 | 1156.3071
10.94
| COLLECTION PAGE |  |  |  | SUBTOTALS | 10.94
| Page 1 |  |  |  | 46341 | 10.94 | 4235.9232
| Page 2 |  |  |  | 64315 | 10.94 | 5878.8848
| Page 3 |  |  |  | 86537.52 | 10.94 | 7910.1938
| Page 4 |  |  |  | 65131.6 | 10.94 | 5953.5283
| Page 5 |  |  |  | 81897 | 10.94 | 7486.0146
| Page 6 |  |  |  | 23441 | 10.94 | 2142.6874
| Page 7 |  |  |  | 12650 | 10.94 | 1156.3071
| GRAND TOTAL - CLASSROOM |  |  |  | 380313.12 | 10.94 | 34763.5393

## Administration Block BOQ
BILL 2 - ESTIMATED BILL OF QUANTITIES FOR ADMINISTRATION BLOCK
ITEM | DESCRIPTION | UNIT | QTY | RATE | TOTAL ZMW | Ex rate/ US$ | TOTAL US$
A | MOBILISATION AND DEMOBILISATION
1 | Allow for preliminaries and general items | Item | 1 | 15000 | 15000 | 10.94 | 1371.1152
10.94
| SUBSTRUCTURE |  |  |  |  | 10.94
10.94
| EXCAVATIONS AND EARTH WORKS |  |  |  |  | 10.94
1 | Excavate top soil and dispose off site within avarage depth 150mm to clear the site. | M2 | 170 | 5 | 850 | 10.94 | 77.6965
2 | Extra over excavation for excavating in rock (provisional) | M3 | 2 | 100 | 200 | 10.94 | 18.2815
3 | Excavate not exceeding 800mm deep for foundation trenches and get out. | M3 | 113 | 19 | 2147 | 10.94 | 196.2523
4 | Supply, lay and compact and level imported latrerite to 95% MADAASHO on area as instructed by the Engineer. | M2 | 68 | 5 | 340 | 10.94 | 31.0786
5 | Allow for provision of antitermite and apply as per manufacture's instructions. | Item | 1 | 1000 | 1000 | 10.94 | 91.4077
6 | Include provisional sum for plunking and strutting in faces of excavations in areas as per recommanded by an Engineer. | Item | 1 | 500 | 500 | 10.94 | 45.7038
7 | Include provisional sum for dewaterng and disposal of water. Thereby keeping all excavations free from rain, surface and percolating water, mud and silt prior to pouring of concrete in footing. | Item | 1 | 300 | 300 | 10.94 | 27.4223
10.94
| Concrete Works |  |  |  |  | 10.94
8 | Supply, mix and lay 50mm concrete blinding ratio 1:3:6. | M2 | 68 | 45 | 3060 | 10.94 | 279.7075
9 | Supply, mix and lay reinfoced vibrated concrete footing 1:2:4 200mm thick. | M3 | 13 | 860 | 11696 | 10.94 | 1069.1042
10.94
| Brick Work |  |  |  |  | 10.94
10 | Supply and lay 200mm thick burnt bricks in cement/sand mortar 1:3 reinforced with 6" brickforce (brickforce measured separetely). | M2 | 90.4 | 40 | 3616 | 10.94 | 330.5302
11 | Supply and lay brickforce in foundation walls every third course. | M | 230 | 3 | 690 | 10.94 | 63.0713
| Hardcore |  |  |  |  | 10.94 | 0
12 | Supply and fill to make up under surface bed | M3 | 28.3 | 60 | 1698 | 10.94 | 155.2102
13 | Provisional sum for supply and application of antitermite as per manufactur's instructions | Item | 1 | 1000 | 1000 | 10.94 | 91.4077
[6 empty] | 10.94 | 0
| To Collection |  |  |  | 42097 | 10.94 | 3847.989
10.94
| Concrete Slab |  |  |  |  | 10.94
1 | Supply and fix to vertical sides of foundation concrete exceeding 200mm but not exceeding 300mm high. | Item | 1 | 650 | 650 | 10.94 | 59.415
2 | Supply and lay 250mm hardcore, layer and compacted in 100mm layers | M3 | 35.5 | 60 | 2130 | 10.94 | 194.6984
3 | Supply and lay polythen (damp proof mambrane) on well compacted hardcore prior to pouring of concrete slab and overlapped 150mm at all sides, ends and intersections, (overlap not included in measured separete). | M2 | 142 | 3 | 426 | 10.94 | 38.9397
4 | Supply conforce steel fabric reinforcement 86 laid on well compacted hardcore surface (compaction measured separete and overlaps not included). | M2 | 145 | 28 | 3976 | 10.94 | 363.4369
5 | Supply, mix and cast (1:2:4) 100mm thick vibrated concrete slab, reinforced with conforce (reinforcement measured separete). | M2 | 113 | 90 | 10170 | 10.94 | 929.6161
6 | Allow for 150mm x 150mm concrete testing cubes in the presence of an Engineer and client's representative (provisional). | No | 1 | 150 | 150 | 10.94 | 13.7112
7 | Supply and apply 19mm thick cement sand plaster (1:4) to sides of foundation walls. | M2 | 46.4 | 42 | 1948.8 | 10.94 | 178.1353
8 | Supply and paint two coats bituminious black to sides of foundation walls. | M2 | 46.4 | 15 | 696 | 10.94 | 63.6197
10.94
10.94
| SUPERSTRUCTURE |  |  |  |  | 10.94
| Brickwork and Blockwork |  |  |  |  | 10.94
1 | Supply and lay 150mm damp proof course (DPC) horizontally for blockwork to be constructed. | M | 130 | 5 | 650 | 10.94 | 59.415
2 | Supply and construc wall with 6" hollow burnt bricks bonded with cement/ sand ratio 1:4, reinforced with brickforce 6" (reinforcement measured separetly). | M2 | 90.4 | 45 | 4068 | 10.94 | 371.8464
3 | Supply and lay 4" brickforce to ditto every third course | M | 650 | 3 | 1950 | 10.94 | 178.245
4 | Supply and construct with burnt bricks 400 x 200 pillars to corridors, plastered with 15mm cement/sand mortar 1:4 and smooth finish with steel trowel. | M2 | 18 | 65 | 1170 | 10.94 | 106.947
5 | Supply and lay 100mm thick bull nosed face bricks on edge cill with flush mortar joints. | M | 18 | 45 | 810 | 10.94 | 74.0402
6 | Supply and fix formwork to ring beam. | M | 64 | 20 | 1280 | 10.94 | 117.0018
7 | Supply and fix formwork to side of lintols | Item | 1 | 500 | 500 | 10.94 | 45.7038
8 | Allow for reinforcement in ring beam and lintols with Y 12 main bars, 4 No, linked with R6, links measured separetely. | KG | 250.06 | 12 | 3000.73 | 10.94 | 274.2898
9 | Provide links for reinforcement R6 spaced at 150 c/c to ring beam. | KG | 168.01 | 12 | 2016.115 | 10.94 | 184.2884
10 | Supply, mix and pour 1:3:5 vibrated concrete in reinforced ring beam and lintol, reinforcement measured separetely. | M3 | 2.56 | 900 | 2304 | 10.94 | 210.6033
11 | Supply and fix 150mm x 150mm PVC paired airbricks, building into 200mm thick wall and rendered in cement sand mortar 1:4, finish with steel froat. | No | 28 | 18.5 | 518 | 10.94 | 47.3492
10.94
| To Collection |  |  |  | 38413.645 | 10.94 | 3511.3021
10.94
| Construction of a Roof |  |  |  |  | 10.94
| All timber shall be treated with approved wood preservative. |  |  |  |  | 10.94
1 | Supply and fix 100mm treated swan softwood timber to wall plate. | M | 48 | 15.5 | 713 | 10.94 | 65.1737
2 | Truss members 100mm x 50mm treated sw timber, spaced at 1500mm c/c | M | 300 | 15.5 | 4650 | 10.94 | 425.0457
3 | Purlins: 75mm x 50mm | M | 215 | 12 | 2580 | 10.94 | 235.8318
4 | 200 x 25mm decorated fascia board fixed to ends of rafters with sprayed heading joints and short lenghts (neatly angled). | M | 60 | 25 | 1500 | 10.94 | 137.1115
5 | Supply and fix IBR/IT4 factory coated roofing sheetings to slope not exceeding 45 degrees and fixed to soft wood timber trusses with galvanised steel roofing nails with bituminious felt and galvanised diamond washers, 200mm end overlaps (net measurement) | M2 | 188 | 130 | 24440 | 10.94 | 2234.0037
6 | Supply and fix Ridge capping net measured | M | 20 | 28 | 560 | 10.94 | 51.1883
10.94
10.94
| Metal Work and Glassing |  |  |  |  | 10.94
| Doors and Window specifications must be read in conjunction with the drawing shedules. All must be prime coated and painted with 2 caots gloss, pressed steel bouble redated door frames and built in: |  |  |  |  | 10.94
1 | Frame size 700mm x 2000mm overall to suit the wall | No | 5 | 200 | 1000 | 10.94 | 91.4077
2 | Frame size 800mm x 2000mm overall to suit the wall | No | 6 | 230 | 1380 | 10.94 | 126.1426
10.94
4 | Cottage Section Metal window and building in, glass cutting measurement to be done prior to cutting and with reference to window schedule, inclusive of handles and peg stays. |  |  |  |  | 10.94
a | 1.2m x 1.1m | No | 8 | 550 | 4400 | 10.94 | 402.1938
b | 2.4m x 1.1m | No | 1 | 850 | 850 | 10.94 | 77.6965
c | 1.8m x 1.1m | No | 1 | 780 | 780 | 10.94 | 71.298
d | 1.2m X 0.9 | No | 1 | 540 | 540 | 10.94 | 49.3601
e | 1.2m x 0.5m | No | 1 | 450 | 450 | 10.94 | 41.1335
f | 0.6m x 0.5m | No | 4 | 170 | 680 | 10.94 | 62.1572
5 | Supply and fix 4mm thick obscure to wet places, fixed to window frames with well approved putty | M2 | 1.8 | 130 | 234 | 10.94 | 21.3894
6 | Supply and fix 4mm thick glass, cut and fixed to window frames with well approved putty, with smooth finish (putty quantity: 45kg). | M2 | 16 | 105 | 1680 | 10.94 | 153.5649
7 | Supply and fix pre fabricated 12mm diameter mild steel rod as burglar bars, prime coated with two coats (provisional) | Item | 1 | 14500 | 14500 | 10.94 | 1325.4113
8 | Supply and fabricate grill doors to external entrance/ exit to client's prafered pattern and Engineers advice. | No | 4 | 1000 | 4000 | 10.94 | 365.6307
10.94
| To Collection |  |  |  | 64937 | 10.94 | 5935.7404
10.94
| Capentry, Joinery and Ironmongery |  |  |  |  | 10.94
1 | Supply and fix 40mm x 40mm treated swan softwood timber spaced at 500 c/c brandering to wall and trusses. | M | 600 | 10 | 6000 | 10.94 | 548.4461
2 | Supply and fix 6mm particle board ceiling to brandering frame work, include mm wide cover strips, fixed to joints of particle board and inspection holes. | M2 | 130 | 35 | 4602 | 10.94 | 420.6581
3 | 75mm curved cornice fixed to ceiling, including closd joints with walls, sprayed heading joints and neatly mitred angle. | M | 220 | 7.3 | 1606 | 10.94 | 146.8007
4 | Supply and fixe single flush doors to 800 x 2000 internal doors, complete with hinges and screws. | No | 2 | 175 | 350 | 10.94 | 31.9927
5 | Supply and fixe single flush doors to 700 x 2000 internal doors, complete with hinges and screws. | No | 5 | 170 | 850 | 10.94 | 77.6965
6 | Supply and fix hardwood mukwa doors to 800 X 2000 external doors, complete with hinges and screws. | No | 4 | 1200 | 4800 | 10.94 | 438.7569
7 | Supply and fix 3 lever mortice lock (YALE, or other make as client's preference and Engineer's advice) to all doors not less than 700mm wide. | No | 11 | 120 | 1320 | 10.94 | 120.6581
8 | Provisional sum for creation of curtain window punnels with faisure board timber, inclusive of supply, fix to wall and paint with undercoat and 2 coats gloss paint, coloured as per client's preference and architect's advice, estemated coverage, 30m. | Item | 1 | 1000 | 1000 | 10.94 | 91.4077
9 | Allow for the creation of shelves in stores office with cupboards of 20mm thick blockboard screwed to steel brackets with 25mm X 18mm wrot hard woodlipping pined and glued to edges including partioning | Item | 1 | 300 | 300 | 10.94 | 27.4223
10 | Supply and screw to wall j-hunging hooks at positions advised by supervisor (provisional) | No | 10 | 2 | 20 | 10.94 | 1.8282
11 | Supply and fix medicine cabinet size 450mm x 380mm 150mm with shelvess, hinged door with lock and catch, including mirror or face, plugging and screwing to blockwork in wet places. | No | 3 | 250 | 750 | 10.94 | 68.5558
12 | Supply and fix hand dryers to walls of ablutions, posioned as per supervisor's advice. | No | 2 | 150 | 300 | 10.94 | 27.4223
13 | Supply and fix 150mm x 150mm white glazed vitreous china semi recessed toilet roll holder and build into wall, including making goods all disturbed work. | No | 3 | 65 | 195 | 10.94 | 17.8245
14 | Supply and fix 4mm polished plate glass silvered mirror size not less than 400mm x 1200mm with bevelled and polished and screwed with brass screws, coated with chromium plated finished detachable dome head. | No | 3 | 180 | 540 | 10.94 | 49.3601
15 | Supply and apply undercoat to ceiling surfaces. | M2 | 130 | 5 | 650 | 10.94 | 59.415
10.94
| To Collection |  |  |  | 23283 | 10.94 | 2128.245
15 | Supply and apply 2 coats of PVA white paint to ceiling, inclusive of clay brick PVA in decorated portions of partical board (optional painting style). | M2 | 130 | 15 | 1950 | 10.94 | 178.245
16 | Supply, mix and apply c/s 1:3 15mm thick plaster to new external walls, finish with wood float. | M2 | 177 | 30 | 5310 | 10.94 | 485.3748
20 | Supply, mix and apply c/s 1:3 15mm thick plaster to new internal walls, finish with steelfloat. | M2 | 523 | 28 | 14644 | 10.94 | 1338.574
21 | Supply and apply 2 coats of PVA paint to external walls, with clay/orange, or colour as per client's preference. | M2 | 177 | 15 | 2655 | 10.94 | 242.6874
22 | Supply and apply 2 coats of gloss white paint to internal walls from floor level, burge or colour as per client's preference. | M2 | 523 | 18 | 9414 | 10.94 | 860.5119
23 | Supply, fix and apply 2 coats of varnish to sanded 100mm skirting. | M | 200 | 6 | 1200 | 10.94 | 109.6892
24 | Supply, mix and cast floor screed with c/s 1:3, 38mm thick, finish with wood float to top slab prior to supplying and laying of floor tiles. | M2 | 90 | 45 | 4050 | 10.94 | 370.2011
25 | Supply and fix 3mm thick 400 X 400mm ceramic floor tiles through out the floor usable spaces fixed with tile, fix and joints filled with 3mm spacers and grout, smooth finish. | M2 | 90 | 165 | 14850 | 10.94 | 1357.404
26 | Supply and fix 38mm diameter door stop and plig and screw to floor. | No | 11 | 15 | 165 | 10.94 | 15.0823
27 | Supply and fix ceramic toilet tuissue holders to wall | No | 5 | 35 | 175 | 10.94 | 15.9963
28 | Provisional sum for executive tables and sits | No | 4 | 3500 | 14000 | 10.94 | 1279.7075
29 | Provisional sum for blackboard and notice board nailed to wall complete with cover strip framing. | Item | 1 | 1600 | 1600 | 10.94 | 146.2523
30 | Provisional sum for staff furniture sets. | No | 4 | 1800 | 7200 | 10.94 | 658.1353
10.94
| ELECTICAL WORKS |  |  |  |  | 10.94
1 | 8 way Distribution Box complete with lighting arester, earth rod, trays and all relevant accessories as electrician's advise. | No | 1 | 700 | 700 | 10.94 | 63.9854
2 | 10 Amps for overhead lights | No | 1 | 30 | 30 | 10.94 | 2.7422
3 | 15 Amps for sockets | No | 1 | 40 | 40 | 10.94 | 3.6563
4 | 20 Amps for geyser | No | 1 | 48 | 48 | 10.94 | 4.3876
5 | 60 Amps for main breaker | No | 1 | 65 | 65 | 10.94 | 5.9415
1 | 1 way 1 gang switch, PVC | No | 5 | 25 | 125 | 10.94 | 11.426
2 | 3" X 3" metal boxes | No | 2 | 5 | 10 | 10.94 | 0.91408
3 | 2 way 2 gang PVC switchs | No | 4 | 35 | 140 | 10.94 | 12.7971
4 | 13 Amps single PVC sockets outlets (provisionally | No | 2 | 45 | 90 | 10.94 | 8.2267
5 | 13 Amps double PVC sockets outlet | No | 9 | 55 | 495 | 10.94 | 45.2468
6 | 3" x 6" metal boxes | No | 9 | 8 | 72 | 10.94 | 6.5814
7 | bulb holders | No | 6 | 15 | 90 | 10.94 | 8.2267
8 | 18W energy server bulbs | No | 6 | 25 | 150 | 10.94 | 13.7112
9 | 1200 double tube fluorescent tube lights, complete with fittings, inclusive of cables and connects. | No | 9 | 150 | 1350 | 10.94 | 123.4004
10 | Provisional sum for conduits, 2.5mm and 1.5mm wiring cables, female, bends and other connection accessories. | Item | 1 | 5000 | 5000 | 10.94 | 457.0384
10.94
| To Collection |  |  |  | 85618 | 10.94 | 7826.1426
10.94
| PLUMBING WORKS |  |  |  |  | 10.94
| Note: These are provisional estimates |  |  |  |  | 10.94
11 | Allow for breaking holes as deemed necessary prior ti fix plumbing works and allow for making good all builder's work. | Item | 1 | 300 | 300 | 10.94 | 27.4223
| Supply and fix the following plumbing fittings for general points. |  |  |  |  | 10.94
12 | 3/4" Galvanised iron pipe | M | 50 | 40 | 2000 | 10.94 | 182.8154
13 | 1/2" Galvanised iron pipe | M | 20 | 28 | 560 | 10.94 | 51.1883
14 | 3/4" Tee G. I | No | 20 | 8 | 160 | 10.94 | 14.6252
15 | 1/2" G.I Sockets | No | 24 | 10 | 240 | 10.94 | 21.9378
16 | 3/4" G. I Short Nipple | No | 20 | 8 | 160 | 10.94 | 14.6252
17 | 3/4" G. I Union | No | 15 | 8 | 120 | 10.94 | 10.9689
18 | 4" Y piece PVC | No | 5 | 45 | 225 | 10.94 | 20.5667
19 | 4" PVC sewer pipe | M | 60 | 45 | 2700 | 10.94 | 246.8007
20 | 4" PVC bend plain | No | 5 | 45 | 225 | 10.94 | 20.5667
21 | 100mm ventpipe, wire balloon | No | 5 | 145 | 725 | 10.94 | 66.2706
22 | 13mm diameter copper connectors | No | 4 | 48 | 192 | 10.94 | 17.5503
23 | Gulley traps | No | 5 | 85 | 425 | 10.94 | 38.8483
24 | 4" PVC pan connectors | No | 2 | 52 | 104 | 10.94 | 9.5064
25 | 38mm P-trap PVC | No | 2 | 40 | 80 | 10.94 | 7.3126
26 | Inspection Tees 110mm | No | 4 | 85 | 340 | 10.94 | 31.0786
27 | 3/4" Elbow | No | 10 | 8 | 80 | 10.94 | 7.3126
28 | 1/2" Elbow | No | 10 | 8 | 80 | 10.94 | 7.3126
29 | 3/4" and 1/2" G. I reducer | No | 10 | 8 | 80 | 10.94 | 7.3126
30 | 3/4" Gate valve | No | 5 | 48 | 240 | 10.94 | 21.9378
31 | ceramic toilet pan complete with seat and cover and 9 liters cistern with all accessories. | No | 5 | 680 | 3400 | 10.94 | 310.7861
32 | ceramic wash hand basin (smallest size, inclusive of pillat taps and brackets). | No | 3 | 200 | 600 | 10.94 | 54.8446
33 | Provisional amount for variational works on plumbing | Item | 1 | 1500 | 1500 | 10.94 | 137.1115
34 | Provisional sum for contact glue and sealin tapes | Item | 1 | 100 | 100 | 10.94 | 9.1408
35 | Sundrise, 500 solvent cement, 250mls silicon | Item | 1 | 250 | 250 | 10.94 | 22.8519
36 | Urinal bowls | No | 2 | 240 | 480 | 10.94 | 43.8757
37 | Inspection bends | No | 5 | 20 | 100 | 10.94 | 9.1408
38 | Plain tees 110mm | No | 5 | 24 | 120 | 10.94 | 10.9689
39 | Electrical connections to include 4m-4mm size cable for geyser, 20mm saddle clamps not exceeding 15, and earthing and all sundries | Item | 1 | 600 | 600 | 10.94 | 54.8446
40 | Provisional sum for conduits, 2.5mm and 1.5mm wire cable, females, bends and accesaries | Item | 1 | 8000 | 8000 | 10.94 | 731.2614
41 | Supply and fix of 80Ltrs wall mounted geyser, completed with associated plumbing and electrical connections. | No | 1 | 1700 | 1700 | 10.94 | 155.3931
42 | Zeco connection and commisioning to all buildings. | Item | 1 | 15000 | 15000 | 10.94 | 1371.1152
10.94
| To Collection |  |  |  | 40886 | 10.94 | 3737.2943
10.94
| Kitchen |  |  |  |  | 10.94
22 | Stainless single bowl drain kitchen, complete with fittings | No | 1 | 440 | 440 | 10.94 | 40.2194
23 | 13mm Chromium plated cobra type sink mixer | No | 1 | 350 | 350 | 10.94 | 31.9927
24 | 3/4" Gate valve | No | 1 | 60 | 60 | 10.94 | 5.4845
25 | 38mm P-trap PVC | No | 1 | 45 | 45 | 10.94 | 4.1133
26 | 38mm Elbow PVC | No | 1 | 20 | 20 | 10.94 | 1.8282
27 | 38mm PVC pipe (provisional length) | No | 4 | 15 | 60 | 10.94 | 5.4845
10.94
10.94
| EXTERNAL WORKS |  |  |  |  | 10.94
| Construction of Manholes |  |  |  |  | 10.94
1 | Excavate soil 500 x 700 x 600, lay 50mm blinding and 100mm slab, supply and construct 450 x 600 x 600, 3No. Inspection hole in 6" concrete blocks, reinforced with brickforce and bonded with cement sand mortar 1:3, plastered with 15mm thick c/s and allow for provision of 450 x 600 concrete manhole covers and steel bar handle. | No | 3 | 300 | 900 | 10.94 | 82.2669
10.94
| Construction of Spoon Drain |  |  |  |  | 10.94
2 | Construct 600mm wide concrete spoon dran around the building with concrete ratio 1:3:6, including all associated excavations and backfill. | M | 36 | 65 | 2340 | 10.94 | 213.894
10.94
| Septic tank |  |  |  |  | 10.94
3 | Construct septic tank 2m X 1.5m X 2.5m depth and 0.4m above the ground level with reinforced slab of 2 X 1.5 X 0.1, confore wire 86, 2 X 1.5dpm, 6" concrete blocks reinforced concrete cover (Y 12 spaced at 200 c/c) and steel handle and 400 X 400 tight inspection hole and connect all associated plumbing works to the septic tank. (280 blocks, 12pts cement, 1 ton river and building sand, 2 ton concrete stones. | No | 1 | 6000 | 6000 | 10.94 | 548.4461
10.94
| Construction of soakaway |  |  |  |  | 10.94
4 | Construct the filled type of soakaway, including the excation of 0.6 X 0.6 X 1.5, 6" concrete honey combed block work. Connect all associated plumbing works as directed by site Engineer. | No | 1 | 2500 | 2500 | 10.94 | 228.5192
10.94
10.94
| To Collection |  |  |  | 12715 | 10.94 | 1162.2486
10.94
| COLLECTION PAGE |  |  |  | SUBTOTALS | 10.94
| Page 1 |  |  |  | 42097 | 10.94 | 3847.989
| Page 2 |  |  |  | 38413.645 | 10.94 | 3511.3021
| Page 3 |  |  |  | 64937 | 10.94 | 5935.7404
| Page 4 |  |  |  | 23283 | 10.94 | 2128.245
| Page 5 |  |  |  | 85618 | 10.94 | 7826.1426
| Page 6 |  |  |  | 40886 | 10.94 | 3737.2943
| Page 7 |  |  |  | 12715 | 10.94 | 1162.2486
| GRAND TOTAL - ADMINISTRATION BLOCK |  |  |  | 307949.645 | 10.94 | 28148.9621

## Carpentry workshop BOQ
BILL 3-ESTIMATED BILL OF QUANTITY FOR A CARPENTRY WORKSHOP
ITEM | DESCRIPTION | UNIT | QTY | RATE | TOTAL ZMW | Ex rate/ US$ | TOTAL US$
A | MOBILISATION AND DEMOBILISATION
1 | Allow for preliminaries and general items | Item | 1 | 13800 | 13800 | 10.94 | 1261.426
[5 empty] | 0 | 10.94
| SUBSTRUCTURE |  |  |  | 0 | 10.94
[5 empty] | 0 | 10.94
| EXCAVATIONS AND EARTH WORKS |  |  |  | 0 | 10.94
1 | Excavate top soil and dispose off site within avarage depth 150mm to clear the site. | M2 | 138 | 5 | 690 | 10.94 | 63.0713
2 | Extra over excavation for excavating in rock (provisional) | M3 | 1 | 100 | 100 | 10.94 | 9.1408
3 | Excavate not exceeding 800mm deep for foundation trenches and get out. | M3 | 37 | 19 | 703 | 10.94 | 64.2596
4 | Supply, lay and compact and level imported latrerite to 95% MADAASHO on area as instructed by the Engineer. | M2 | 46.2 | 5 | 231 | 10.94 | 21.1152
5 | Allow for provision of antitermite and apply as per manufacture's instructions. | Item | 1 | 1000 | 1000 | 10.94 | 91.4077
6 | Include provisional sum for plunking and strutting in faces of excavations in areas as per recommanded by an Engineer. | Item | 1 | 500 | 500 | 10.94 | 45.7038
7 | Include provisional sum for dewateirng and disposal of water. Thereby keeping all excavations free from rain, surface and percolating water, mud and silt prior to pouring of concrete in footing. | Item | 1 | 200 | 200 | 10.94 | 18.2815
[5 empty] | 0 | 10.94
| Concrete Works |  |  |  | 0 | 10.94
8 | Supply, mix and lay 50mm concrete blinding ratio 1:3:6. | M2 | 46.2 | 45 | 2079 | 10.94 | 190.0366
9 | Supply, mix and lay reinfoced vibrated concrete footing 1:2:4 200mm thick. | M3 | 9.2 | 860 | 7912 | 10.94 | 723.2176
[5 empty] | 0 | 10.94
| Foundation Brick Work |  |  |  | 0 | 10.94
10 | Supply and lay 200mm thick burnt bricks in cement/sand mortar 1:3 reinforced with 6" brickforce (brickforce measured separetely. | M2 | 165 | 40 | 6600 | 10.94 | 603.2907
11 | Supply and lay brickforce in foundation walls every third course. | M | 280 | 3 | 840 | 10.94 | 76.7824
| Hardcore |  |  |  | 0 | 10.94
| Supply and fill to make up under surface bed | M3 | 30 | 60 | 1800 | 10.94 | 164.5338
| Provisional sum for supply and application of antitermite as per manufactur's instructions | Item | 1 | 1000 | 1000 | 10.94 | 91.4077
[5 empty] | 0 | 10.94
| To Collection |  |  |  | 37455 | 10.94 | 3423.6746
10.94
| Concrete Slab |  |  |  | 0 | 10.94
1 | Supply and fix to vertical sides of foundation concrete exceeding 200mm but not exceeding 300mm high. | Item | 1 | 450 | 450 | 10.94 | 41.1335
2 | Supply and lay 250mm hardcore, layer and compacted in 100mm layers | M3 | 30 | 60 | 1800 | 10.94 | 164.5338
3 | Supply and lay polythen (damp proof mambrane) on well compacted hardcore prior to pouring of concrete slab and overlapped 150mm at all sides, ends and intersections, (overlap not included in measured separete). | M2 | 120 | 3 | 360 | 10.94 | 32.9068
4 | Supply conforce steel fabric reinforcement 86 laid on well compacted slab, reinforced with conforce (reinforcement measured separete and overlaps not included) | M2 | 120 | 28 | 3360 | 10.94 | 307.1298
5 | Supply, mix and cast (1:2:4) 100mm thick vibrated concrete slab, reinforced with conforce (reinforcement measured separete. | M2 | 120 | 90 | 10800 | 10.94 | 987.2029
6 | Allow for 150mm x 150mm concrete testing cubes in the presence of an Engineer and client's representative (provisional). | No | 1 | 150 | 150 | 10.94 | 13.7112
7 | Supply and apply 19mm thick cement sand plaster (1:4) to sides of foundation walls. | M2 | 61.6 | 42 | 2587.2 | 10.94 | 236.4899
8 | Supply and paint two coats bituminious black to sides of foundation walls. | M2 | 61.6 | 15 | 924 | 10.94 | 84.4607
[5 empty] | 0 | 10.94
| SUPERSTRUCTURE |  |  |  | 0 | 10.94
| Brickwork and Blockwork |  |  |  | 0 | 10.94
1 | Supply and lay 150mm damp proof course (DPC) horizontally for blockwork to be constructed. | M | 56 | 5 | 280 | 10.94 | 25.5941
2 | Supply and construc wall with 6" hollow burnt bricks bonded with cement/ sand ratio 1:4, reinforced with brickforce 6" (reinforcement measured separetly). | M2 | 165 | 45 | 7425 | 10.94 | 678.702
3 | Supply and lay 4" brickforce to ditto every third course | M | 280 | 3 | 840 | 10.94 | 76.7824
4 | Supply and construct with burnt bricks 400 x 200 pillars to corridors, plastered with 15mm cement/sand mortar 1:4 and smooth | M2 | 14.4 | 65 | 936 | 10.94 | 85.5576
5 | Supply and lay 100mm thick bull nosed face bricks on edge cill with flush mortar joints. | M | 14 | 45 | 630 | 10.94 | 57.5868
6 | Supply and fix formwork to ring beam. | M | 64.8 | 20 | 1296 | 10.94 | 118.4644
7 | Allow for reinforcement in ring beam and lintols with Y 12 main bars, 4 No, linked with R6, links measured separetely. | KG | 253.19 | 12 | 3038.28 | 10.94 | 277.7221
8 | Provide links for reinforcement R6 spaced at 150 c/c to ring beam. | KG | 168.01 | 12 | 2016.12 | 10.94 | 184.2888
9 | Supply, mix and pour 1:3:5 vibrated concrete in reinforced ring beam and lintol, reinforcement measured separetely. | M3 | 2.6 | 900 | 2340 | 10.94 | 213.894
10 | Supply and fix 150mm x 150mm PVC paired airbricks, building into 200mm thick wall and rendered in cement sand mortar 1:4, finish with steel froat. | No | 28 | 18.5 | 518 | 10.94 | 47.3492
[5 empty] | 0 | 10.94
| To Collection |  |  |  | 39750.6 | 10.94 | 3633.5101
10.94
| Construction of a Roof |  |  |  | 0 | 10.94
| All timber shall be treated with approved wood preservative. |  |  |  | 0 | 10.94
1 | Supply and fix 100mm treated swan softwood timber to wall plate. | M | 50 | 15.5 | 775 | 10.94 | 70.841
2 | Truss members 100mm x 50mm treated sw timber, spaced at 1500mm c/c | M | 360 | 15.5 | 5580 | 10.94 | 510.0548
3 | Purlins: 75mm x 50mm | M | 180 | 12 | 2160 | 10.94 | 197.4406
4 | 200 x 25mm decorated fascia board fixed to ends of rafters with sprayed heading joints and short lenghts (neatly angled). | M | 54 | 25 | 1350 | 10.94 | 123.4004
5 | Supply and fix IBR/IT4 factory coated roofing sheetings to slope not exceeding 45 degrees and fixed to soft wood timber trusses with galvanised steel diamond washers, 200mm end overlaps (net measurement) | M2 | 180 | 130 | 23400 | 10.94 | 2138.9397
6 | Supply and fix ridge capping | M | 18 | 28 | 504 | 10.94 | 46.0695
[5 empty] | 0 | 10.94
| Metal Work and Glassing |  |  |  | 0 | 10.94
| Doors and Window specifications must be read in conjunction with the drawing shedules. All must be prime coated and painted with 2 coats gloss, pressed steel bouble redated door frames and built in: |  |  |  | 0 | 10.94
7 | Frame size 700mm x 2000mm overall to suit the wall | No | 1 | 380 | 380 | 10.94 | 34.7349
8 | Frame size 800mm x 2000mm overall to suit the wall | No | 3 | 230 | 690 | 10.94 | 63.0713
| Cottage Section Metal window and building in, glass cutting measurement to be done prior to cutting and with reference to window schedule, inclusive of handles and peg stays. |  |  |  | 0 | 10.94
9 | 1.8m x 1.1m | No | 1 | 780 | 780 | 10.94 | 71.298
10 | 1.2m x 0.50m | No | 8 | 450 | 3600 | 10.94 | 329.0676
11 | 2.4m x 0.50m | No | 1 | 550 | 550 | 10.94 | 50.2742
12 | Supply and fix 4mm thick obscure to wet places, fixed to window frames with well approved putty | M2 | 8 | 105 | 840 | 10.94 | 76.7824
13 | Supply and fix pre fabricated 12mm diameter mild steel rod as burglar bars, prime coated with two coats (provisional) | Item | 1 | 6000 | 6000 | 10.94 | 548.4461
14 | Supply and fabricate grill doors to external entrance/ exit to client's prafered pattern and Engineers advice. | No | 1 | 1500 | 1500 | 10.94 | 137.1115
[5 empty] | 0 | 10.94
| Capentry, Joinery and Ironmongery |  |  |  | 0 | 10.94
15 | Supply and fix 40mm x 40mm treated swan softwood timber spaced at 500 c/c brandingering to wall and trusses. | M | 460 | 10 | 4600 | 10.94 | 420.4753
16 | Supply and fix 6mm rarticle board ceiling to brandering frame work, include mm wide cover strips, fixed to joints of particle board and inspection holes. | M2 | 130 | 35.4 | 4602 | 10.94 | 420.6581
[5 empty] | 0 | 10.94
| To Collection |  |  |  | 57311 | 10.94 | 5238.6654
10.94
[5 empty] | 0 | 10.94
17 | 75mm curved cornice fixed to ceiling, including closd joints with walls, sprayed heading joints and neatly mitred angle. | M | 70 | 7.3 | 511 | 10.94 | 46.7093
18 | Supply and fixe single flush doors to 800 x 2000 internal doors, complete with hinges and screws. | No | 3 | 175 | 525 | 10.94 | 47.989
19 | Supply and fixe hardwood mukwa 800 x 2000 external doors, complete with hinges and screws. | No | 1 | 2500 | 2500 | 10.94 | 228.5192
20 | Supply and fix 3 lever mortice lock (YALE, or other make as client's preference and Engineer's advice) to all doors not less than 700mm wide. | No | 4 | 120 | 480 | 10.94 | 43.8757
21 | Provisional sum for creation of curtain window punnels with faisure board timber, inclusive of supply, fix to wall and paid with undercoat and 2 coats gloss paint, coloured as per client's preference and architect's advice, estemated coverage, 30m. | Item | 1 | 1000 | 1000 | 10.94 | 91.4077
22 | Allow for the creation of shelves in stores office with cupboards of 20mm thick blockboard screwed to steel brackets with 25mm X 18mm wrot hard woodlipping pined and glued to edges including partioning | Item | 1 | 400 | 400 | 10.94 | 36.5631
| Finishes |  |  |  | 0 | 10.94
23 | Supply and apply undercoat to ceiling surfaces. | M2 | 120 | 5 | 600 | 10.94 | 54.8446
24 | Supply and apply 2 coats of PVA white paint to ceiling, inclusive of clay brick PVA in decorated portions of partical board (optional painting style). | M2 | 120 | 15 | 1800 | 10.94 | 164.5338
25 | Supply, mix and apply c/s 1:3 15mm thick plaster to new external walls, finish with wood float. | M2 | 230 | 30 | 6900 | 10.94 | 630.713
26 | Supply, mix and apply c/s 1:3 15mm thick plaster to new internal walls, finish with steelfloat. | M2 | 144 | 28 | 4032 | 10.94 | 368.5558
27 | Supply and apply 2 coats of PVA paint to external walls, with clay/orange, or colour as per client's preference. | M2 | 230 | 15 | 3450 | 10.94 | 315.3565
28 | Supply and apply 2 coats of gloss white paint to internal walls from floor level, burge or colour as per client's preference. | M2 | 11 | 18 | 198 | 10.94 | 18.0987
29 | Supply, fix and apply 2 coats of varnish to sanded 100mm skirting. | M | 75.4 | 6 | 452.4 | 10.94 | 41.3528
30 | Supply, mix and cast floor screed with c/s 1:3, 38mm thick, finish with wood float. | M2 | 116.44 | 45 | 5239.8 | 10.94 | 478.958
31 | Supply and fix 38mm diameter door stop and plig and screw to floor. | No | 5 | 15 | 75 | 10.94 | 6.8556
32 | Provisional sum for executive tables and sits | No | 1 | 5650 | 5650 | 10.94 | 516.4534
33 | Provisional sum for blackboard and notice board nailed to wall complete with cover strip framing. | Item | 1 | 850 | 850 | 10.94 | 77.6965
34 | Carpentry work timber tops | Item | 1 | 3500 | 3500 | 10.94 | 319.9269
[5 empty] | 0 | 10.94
| To Collection |  |  |  | 38163.2 | 10.94 | 3488.4095
10.94
| ELECTICAL WORKS |  |  |  | 0 | 10.94
1 | 1 way 1 gang switch, PVC | No | 5 | 25 | 125 | 10.94 | 11.426
2 | 3" x 3" metal boxes | No | 7 | 5 | 35 | 10.94 | 3.1993
3 | 2 way 2 gang PVC switches | No | 2 | 35 | 70 | 10.94 | 6.3985
4 | 13Amp Single PVC socket outlet (provisionally) | No | 1 | 45 | 45 | 10.94 | 4.1133
5 | 13 Amp Double PVC socket outlet | No | 6 | 55 | 330 | 10.94 | 30.1645
7 | Bulb Holders | No | 2 | 15 | 30 | 10.94 | 2.7422
8 | 18W energy server bulbs | No | 2 | 25 | 50 | 10.94 | 4.5704
9 | 1200 double tube fluorescent tube lights, complete with fittings, inclusive of cables and connects. | No | 6 | 150 | 900 | 10.94 | 82.2669
10 | Provisional sum for wiring and connections, including all associated builder's works. | Item | 1 | 3000 | 3000 | 10.94 | 274.223
11 | Zesco connection and commisioning | Item | 1 | 4000 | 4000 | 10.94 | 365.6307
[5 empty] | 0 | 10.94
| EXTERNAL WORKS |  |  |  | 0 | 10.94
| Construction of spoon drain |  |  |  | 0 | 10.94
| Construct 600mm wide concrete spoon drain around the building with concrete ratio 1:3:6, including all associated excations and backfill | M | 50 | 65 | 3250 | 10.94 | 297.075
[5 empty] | 0 | 10.94
| To Collection |  |  |  | 11835 | 10.94 | 1081.8099
10.94
| COLLECTION PAGE |  |  |  | SUBTOTALS | 10.94
10.94
| Page 1 |  |  |  | 37455 | 10.94 | 3423.6746
[5 empty] | 0 | 10.94
| Page 2 |  |  |  | 39750.6 | 10.94 | 3633.5101
[5 empty] | 0 | 10.94
| Page 3 |  |  |  | 57311 | 10.94 | 5238.6654
[5 empty] | 0 | 10.94
| Page 4 |  |  |  | 38163.2 | 10.94 | 3488.4095
[5 empty] | 0 | 10.94
| Page 5 |  |  |  | 11835 | 10.94 | 1081.8099
[5 empty] | 0 | 10.94
| GRAND TOTAL - CARPENTRY WORKSHOP |  |  |  | 184514.8 | 10.94 | 16866.0695