	
	               SCHEDULE OF QUANTITIES FOR PROVIDING FIRE FIGHTING SYSTEM

	SNO
	DESCRIPTION OF ITEM(S)
	UNIT
	QTY
	SUPPLY(&) ERECTION
	AMOUNT

	 A)
	DOWN COMEER HOSERELL &  HYDRANT SYSTEM . 
	 
	 
	
	 

	
	LANDING VALVE.
	
	
	 
	

	1
	Supply, installation, testing, and commission of instantaneous type single headed SS Hydrant Valve  Type ‘A ‘with 80mm dia.flnged inlet & 63mm dia instanteous type female outlet complete with A..S.plastic cap and chain twist release type lug and all accessories complete as require MAKE;newage,  ESSEL.
	Nos
	04
	5,400.00
	21,600.00

	 
	 FIRE HOSE BOX.
	 
	 
	 
	 

	2
	Supply, installation, testing and  commissioning of weather proof cabinet for hose fabricated out of 1.6mm.thickness M.S.sheet complete with glassing front having locking arrangement, Single door Hose Boxes   including all necessary supports, fastener, angles, nuts, bolts etc. 
	Nos
	04
	2,100.00
	8,400.00

	 
	 FIRE HOSE.
	 
	 
	 
	 

	3
	Supply,installation,testing,and commissioning,100%synthetic flax canvas non-percolating fire hose (type B).  ISI marked 63mm dia 15m long with SS , male& female couplings hose with cooper rivets and copper wire as required. MAKE: new age,  
	Nos
	04
	4,800.00
	19,200.00

	 
	SHORT BRANCH PIPE. 
	 
	 
	 
	 

	4
	Supply, installation, testing and commissioning, 63mm dia fixing of short SS  Branch Pipe (isi)with 20mm dia nozzle as required. MAKE; new age,
	Nos
	04
	2000.00
	8,000.00

	 
	 FIRE HOSE REEL.
	 
	 
	 
	 

	5
	Supply, Installation, Testing, and commissioning of  and Fixing of 20mm dia, 30mtr long Rubber fire Hose reel incl hose reel drum of swinging type with gate valve and shut off nozzle etc.MAKE: Aadhi.
	Nos
	04
	                      6,500.00.
	26,000.00

	 
	 BRASS BALL VALVE.
	 
	 
	 
	 

	6
	Supply, Installing, Testing, Commissioning of forged brass ball valves favor fire fighting complete in all repeats.
	Nos
	06
	750.00
	4,500.00

	 
	  NON- RETURNS VALVES.
	 
	 
	 
	 

	 7
	Supply, Installing, Testing, Commissioning of Non-Return Valve with Required flanges etc.,cheak valve.
	 Nos
	03
	3,100.00 
	9,300.00 

	8
	Auto& Manvel  Motor  panel  Board
	No
	01
	                             65,000.00
	              65,000.00

	
	PRESSURE GAUGE.
	
	
	
	

	9
	 Supply, installation, testing, commssioning,100mm dia pressure gauge&Swich .calibration of 0-16kg/cm2.
	 
	02
	4,800.00
	         9,600.00

	
	BUTERFLY VALVE.
	
	
	
	

	10
	Supply, Installing, Testing, Commissioning of Butterfly Valves PN1.6 rating of following sizes  with standard lever operation type including required flanges, nuts, bolts 
	 
	 
	 
	 

	
	100mm dia
	Nos
	05
	                          4,800.00
	    24,000.00

	
	50mm BUTERFLY VALVE
	No
	04
	1800.00
	         7,200.00

	B
	M.S. PIPES ON SURFACE.
	
	
	
	

	11
	Supply, Fabrication, Erecting, Testing, Painting, Commissioning of Medium duty MS Pipes as per  IS:1239 / IS:3589 including necessary specials such as tees, bends, flanges, reducers, etc including suitable supports. Rate quoted shall include for painting of pipe with a coat of  primer and two coats of synthetic enamel paint of approved color / make for aboveground piping.    MAKE: TATA&JINDAL  (Running Mtr)
	 
	 
	 
	 

	
	100mm    dia            
	RMtr
	50
	1180.00
	   59,000.00

	12
	Tars Flour Shower Carton Line All Flour Sprinkler System (Pipe Line.25mm,40mm,50mm,Dia Pipes)
	
	
	
	 1,85,000.00   

	  13
	FIRE INLET VALVE.
	
	
	                        
	

	
	Supply, Installing Testing, Commissioning of 2 Way Fire Brigade Inlet   (FBI)
	No
	01
	                                  9,500.00
	  9,500.00

	14
	Supply of 1620 lpm 36metr head electrically driven horizontal centrifugal split casing type Main Pump set common for hydrant (wet riser) and  with all necessary accessories like bronze impeller, stainless steel shaft and mechanical seal along with ant-vibration mounting, coupling, coupling guard, and base plate for pump, fabricated mild steel channel with foundation bolts, etc as per local fire brigade requirement. It shall be suitable for automatic in operation and meet the requirements of TAC regulations, Pump shall have electrical motor of adequate KW/HP 40 suitable for Electric supply 415 V, 40 Hz, 3 Ph. The price shall cover all manpower, material, piping, fittings, installation etc., MAKE: KIRLOSKAR&CROMPTEN
	No
	01
	                      
	    1,65,000.00

	15
	Auto Sprinklers
	Nos
	50
	150.00
	7,500.00

	 16
	Motor 450 Lpm
	 Nos
	01
	                      32,500.00
	       32,500.00

	 
	 Kirlosker, Flanges , Bends & Fitting)
	
	 
	 
	

	17
	Supply of 10.8 cum/hr. electrically driven horizontal centrifugal, End suction type Common Jockey Pump set for Wet riser & sprinkler system at 6 Bar & 2900 rpm with all necessary accessories like bronze impeller, stainless steel shaft and mechanical seal along with anti-vibration mounting pad and flexible connections at discharge end of the pipes, pressure gauge, pressure switch etc. and shall be automatic in operation, Pump shall have electrical motor of adequate 7.5 HP suitable for electric supply material, piping, fittings, installation etc., MAKE: KIRLOSKAR
	No 
	01
	75,500.00
	    75,500.00   

	18
	  Food Balls                               
	No
	02
	5,200.00
	  10,400.00

	19
	PORTABLE FIRST AID EXTINGUISHERS.
	
	
	
	

	
	Supply, Installing, Testing, Commissioning of ABC powder type cylindrical shape fire extinguisher with fixing hangers, hose, brackets, screws to required size etc., complete as per IS:13849  - wall mounted type. Make :vintex ,or fireguard,Andex
	Nos
	12
	                          2550.00  
	30,600.00

	
	FIRE ALARAM PANEL.
	
	
	
	

	 20
	Supply, installation, testing, and commissioning, Fixing of following zones micro processor based fire alarm control panel with zonal indication and battery  as per detailed specifications  2 - zones. make: Ravel / Agni.
	Nos 
	01
	15,000.00 
	15,000.00 

	21
	Supply, installation ,testing ,commissioning, of of manual call points with glass and hammer. Make  Agni.
	Nos
	05
	880.00
	4,400.00

	22
	Supply, installation ,testing, commissioning, of  hooters Agni.
	Nos
	05
	1020.00
	5,100.00

	23
	2core cable wire       1.5sqmm wire  (clamps,screws,fiting,testing.)
	Met
	500
	                              72.00
	       36,000.00

	24
	Smoke Dictators Make. Agni      
	Nos
	30
	                          1550.00
	      46,500.00

	
	Amount
	
	
	
	8,84,800.00


        N.O.C, CHALLANAS,PLANES&CIVIL WORK  YOUR SCOPE.} TERMS&CONDITIONS

Taxes 

 :  GST @ 18% will be Extra as applicable.
                                                                     


                          
1  Payment

 :   Advance 50 % of the cost of the project to be paid along with 
                                         P.O, 45% during work progress and 5% against completion of work.
2. Bank Details
:    NAME:-  SATYA SOLUTIONS
KOTAK MAHINDRA BANCK- A/c.No: 2513095856, IFSC CODE: KKBK0000573 , Nallapadu, GUNTUR
3.                                     Slab Core Cutting at your Scope. 
4. One (1) year free servicing, and after 1 year maintenances  charge 20,000/.    

    material your scope.








Yours faithfully,









T.S.Reddy,  P.G in Fire&Safety
