## MEASURED WORK
THE ESTIMATE FOR CONSTRUCTION OF HEALTH CENTRE BUILDING
Page 1
ITEM | DESCRIPTION OF WORK | UNIT | QTY | RATE | AMOUNT
PRELIMINARIES
SUBSTRUCTURE
A | Excavate oversize to remove vegetable soil commencing at ground level average depth 150mm. Deposit in soil heaps and cart away from site. | M2 | 300 | 1000 | 300000
B | Excavate foundation trench commencing at stripped level not exceeding 1.5 M deep. | M3 | 105 | 3500 | 367500
C | Extra over any kind of excavation for breaking up rock or the like. | M3 | 10 | 6000 | 60000
D | 50mm thick blinding to foundations | M3 | 5 | 150000 | 750000
F | Plain in situ concrete grade 15
a) | 100mm over site concrete bed. | M2 | 180 | 20000 | 3600000
b) | To foundations | M3 | 6 | 200000 | 1200000
c) | To steps. | M3 | 2 | 200000 | 400000
G | Construct foundation walls with 230mm thick cement blocks, bedded and jointed with cement sand mortar. | M2 | 55 | 22000 | 1210000
H | Backfilling selected imported pure sand material compact and consolidate around foundation. | M3 | 80 | 3500 | 280000
I | 200mm thick earth filling selected imported pure sand ; compact in layers to make up levels under the floor. | M2 | 150 | 3500 | 525000
J | 150mm thick bed of hardcore leveled, compacted and blinded to receive polythene membrane | M2 | 150 | 6000 | 900000
K | Approved solution applied as per manufacturer's instruction to hardcore bed surfaces for soil sterilization. | M2 | 150 | 3000 | 450000
L | Ditto at rate of 8 liters per linear meter to 135mm width x 450mm deep backfilling to one external side of foundation. | M | 60 | 2000 | 120000
M | 500 gauge polythene damp proof membrane laid on blinded hardcore bed surfaces. | M2 | 150 | 3000 | 450000
N | Render cement and sand (1:3) trowelled smooth 12mm thick to concrete or block work base. | M2 | 60 | 5000 | 300000
O | prepare and apply two coats of black bituminous paint on rendered surfaces of plinth. | M2 | 60 | 5000 | 300000
P | 230mm wide Hessian based damp proof course laid on block work with 150mm laps. | M | 70 | 4500 | 315000
Q | Formworks to edges of steps riser over 75 mm not exceeding 150mm wide. | M2 | 5 | 18000 | 90000
| Total (Preliminaries + Substructure) |  |  |  | 11617500
|  |  |  | Estimate in USD | 6833.8235
Page 2
ITEM | DESCRIPTION OF WORKS | UNIT | QUANTITY | RATE | AMOUNT
WALLING
A | Construct walls 150mm thick cement sand blocks, bedded and jointed with cement sand mortar. | M2 | 160 | 20000 | 3200000
B | Extra: eave filling 300mm high. | M | 50 | 6000 | 300000
C | Reinforced concrete grade 20 including vibrating around reinforcements; horizontal beam and Columns | M3 | 3 | 250000 | 750000
D | Reinforcements; high tensile steel bars to BS 4440 : 1961
a) | 16mm to vertical columns | Kg | 120 | 4000 | 480000
b) | 12mm to horizontal beam | Kg | 120 | 4000 | 480000
c) | 6mm mild steel stirrups | Kg | 50 | 4000 | 200000
d) | Binding wires | Kg | 20 | 3000 | 60000
E | Formworks to
a) | Sides of columns | M2 | 10 | 15000 | 150000
b) | Sides and soffits of horizontal beam | M2 | 35 | 15000 | 525000
| Total (Walling) |  |  |  | 6145000
|  |  |  | Estimate in USD | 3614.7059
ROOFING.
A | Supply and fix treated softwood pressure impregnated.
b) | 50 x 150mm Common rafters. | M | 120 | 5000 | 600000
c) | 50 x 100mm Struts. | M | 120 | 4000 | 480000
d) | 50 x 150mm Tie beam. | M | 150 | 4500 | 675000
e) | 50 x 50mm Purling. | M | 140 | 3000 | 420000
f) | 50 x 100 Wall plates | M | 50 | 4000 | 200000
g) | 50 x 100 x 900 long joining pieces | M | 30 | 4000 | 120000
B | Allow for providing of 5mm diameter galvanised straining wire for fixing rafters as per engineer's instruction. | Kgs | 40 | 6500 | 260000
C | Galvanised corrugated iron sheets 28 gauge; lapped to sides and ends as per manufacturer's specification fixed to purling.
a) | Roof covering at slopping not exceeding 22 degrees from the horizontal. | M2 | 90 | 14000 | 1260000
b) | 300mm girth ridge/hip capping. | M | 25 | 7500 | 187500
| Total (Roofing) |  |  |  | 4202500
|  |  |  | Estimate in USD | 2472.0588
DOORS
A | Manufacture and fix 50 x 150mm hardwood frames for doors. | M | 25 | 9500 | 237500
B | Prime quality hardwood panel doors; 40mm thick panel door size 900 x 2100 high comprising 40 x 100mm rebated stiles and top rail 40 x 100mm intermediate rail 40 x 150mm bottom rail divided into two equal panels both filled in with and including 30mm thick hardwood boards. | No | 11 | 180000 | 1980000
C | Supply and fix the following approved ironmongery to hardwood with matching screws.
a) | Two lever mortise lockset. | No | 11 | 42000 | 462000
b) | 100mm brass butt hinges. | Pairs | 11 | 4000 | 44000
d) | Door Stopper | No | 11 | 4000 | 44000
| Total (Doors) |  |  |  | 2767500
|  |  |  | Estimate in USD | 1627.9412
Page 3
ITEM | DESCRIPTION OF WORKS | UNIT | QUANTITY | RATE | AMOUNT
WINDOWS
A | Manufacture and fix 50 x 150mm hardwood frames including polishing with three coats of clear varnish. | M | 80 | 9500 | 760000
B | 16mm diameter burglar proof bars cut to length and housed into frame. | M | 120 | 3000 | 360000
C | Supply, fix and polish 32mm thick casement window comprising 32 x 50mm rebated stile and rail in panel left open for glazing. | M | 132 | 7500 | 990000
D | 6mm thick clear glass fixed with hard wood beads into panel over 0.1M2 not exceeding 0.5M2 | M2 | 25 | 37000 | 925000
E | Provide hardwood timber beads and nailing around window casements. | M | 160 | 3500 | 560000
F | Supply and fix the following approved ironmongery to hardwood with matching srews.
a) | 75mm brass butt hinges. | Pairs | 26 | 4000 | 104000
b) | 75mm brass barrel bolt | No | 52 | 6000 | 312000
c) | 150mm bronze hook casement stay and pin | No | 26 | 7000 | 182000
d) | 100mm brass D pull handle. | No | 26 | 2000 | 52000
| Total (Windows) |  |  |  | 4245000
|  |  |  | Estimate in USD | 2497.0588
FINISHINGS
A | 30 mm cement and sand (1:4) screed; one coat work;steel trowelled to a smooth finish to floors and pavings | M2 | 150 | 5000 | 750000
B | 15 mm internal cement and sand (1:4) plastering in two coats steel trowelled smooth finish to concrete or block work walls. | M2 | 150 | 5000 | 750000
C | 15 mm external cement and sand (1:4) rendering; trowelled smooth to concrete or block work walls. | M2 | 150 | 5000 | 750000
D | Fixing of 4mm thick hardboard ceiling; butt jointed; including 50 x 50mm branderings (m/s) | M2 | 120 | 12000 | 1440000
| Total (Finishings) |  |  |  | 3690000
|  |  |  | Estimate in USD | 2170.5882
Page 4
ITEM | DESCRIPTION OF WORKS | UNIT | QUANTITY | RATE | AMOUNT
PAINTING AND DECORATING
A | Prepare and apply one thinned coat and two full coats of emulsion paint on
a) | Plastered walls, and the like. | M2 | 250 | 3500 | 875000
b) | Hardboard ceilings. | M2 | 150 | 3500 | 525000
B | Prepare and apply one undercoat and two full coats of polyurethane clear varnish on timber surfaces. | M2 | 30 | 6000 | 180000
C | Prepare and apply one undercoat and two full coats of gloss paint on plastered surfaces. | M2 | 60 | 4000 | 240000
D | Prepare and apply one undercoat and two full coats of gloss paint on general surfaces of fascia board not exceeding 300mm wide. | M2 | 50 | 4000 | 200000
E | Prepare and apply one undercoat and two full coats of gloss paint on metal surfaces of burglar bars or the like not exceeding 100mm girth. | M | 160 | 1000 | 160000
| Total (Painting & Decorating) |  |  |  | 2180000
|  |  |  | Estimate in USD | 1282.3529
Page 5
ITEM | DESCRIPTION OF WORKS | UNIT | QUANTITY | RATE | AMOUNT
ELECTRICAL INSTALLATIONS
A | Allow for necessary cutting away holes, chases and the like for and make good after concealed electrical installations
a) | Lighting points with associated switches | No | 11 | 3000 | 33000
b) | Power points with associated switches | No | 8 | 5000 | 40000
c) | Distribution board points. | No | 1 | 8000 | 8000
B | Allow for preparing and producing four (4) copies of 'AS BUILD DRAWINGS' of electrical installations showing all the electrical fittings and wiring on plan. | LS |  |  | 40000
C | Allow for electrical installations; including profit and general attendance. | LS |  |  | 500000
D | Connection to main electricity supply and provision of meters; add profit and general attendance. | LS |  |  | 300000
| Total (Electrical Installations) |  |  |  | 921000
|  |  |  | Estimate in USD | 541.7647
| TOTAL |  |  |  | 35768500
|  |  |  | Estimate in USD | 21040.2941
| ADD 18% VAT |  |  |  | 6438330
| GRAND TOTAL |  |  |  | 42227870.2941
|  |  |  | Estimate in USD | 24839.9237
|  |  |  | GlobalGiving | 14000
|  |  |  | Foundation Support | 10000